## MayDay
ADEM/ADPH Beach Monitoring Program
Microbiological Analyses
May Day Park, Daphne, Mobile Bay
|  | Latitude:30.59923 º N |  |  | most recent advisory status: |  | 2024-05-13 | next sample 05/20/2024
|  | Longitude:87.91407 º W |  |  | see advisory key below
Date Collected |  | Enterococcus Count/100 ml * |  |  | Enterococcus Geo. Mean | Comments |  | Temp. (°C) | DO (mg/l) | pH (su) | Cond (µmhos/cm) | Salin. (ppt) | Turb. (ntu)
2024-05-13 |  | 63 |  |  | xxxx | [6 empty] | 1
2024-05-06 |  | 10 |  |  | xxxx | [6 empty] | 0.8
ADPH Lab Method changed from EPA Method 1600 (Membrane Filtration, cfu/100ml) to SM#9230-D (Fluorogenic Substrate Enterococcus Test, mpn/100ml)
2024-04-08 |  | 2 |  |  | xxxx | [6 empty] | 0.4
2024-03-11 |  | 50 |  |  | xxxx | [6 empty] | 2.2
2024-02-06 |  | 98 |  |  | xxxx | [6 empty] | 1.3
01/11/24 resample |  | 66 |  |  | xxxx | [6 empty] | 4.3
2024-01-08 |  | 174 |  |  | xxxx | [6 empty] | 7.6
2023-12-04 |  | 77 |  |  | xxxx | [6 empty] | 7.4
2023-11-06 | > | 1 |  |  | xxxx | [6 empty] | 15.2
2023-10-02 |  | 3 |  |  | 1.2457 | [6 empty] | 20.8
2023-09-25 | < | 1 |  |  | 2.3045 | [6 empty] | 18.5
2023-09-18 | < | 1 |  |  | 2.6472 | [6 empty] | 16.8
2023-09-11 |  | 1 |  |  | 3.6524 | [6 empty] | 13.3
2023-09-05 | < | 1 |  |  | 12.1058 | [6 empty] | 8.5
2023-08-28 |  | 65 |  |  | xxxx | [6 empty] | 11.2
2023-08-21 |  | 2 |  |  | xxxx | [6 empty] | 2.4
08/17/23 resample |  | 5 |  |  | xxxx | [6 empty] | 3.8
2023-08-16 | > | 400 |  |  | xxxx | [6 empty] | 1.3
2023-08-14 |  | ***SITE RE-OPENED TO THE PUBLIC-WEEKLY SAMPLING TO RESUME ON 08-16-2023
2023-02-13 |  | ***SITE CLOSED BECAUSE OF CONSTRUCTION
2023-01-09 |  | 81 |  |  | xxxx | [6 empty] | 1.9
2022-12-05 |  | 42 |  |  | xxxx | [6 empty] | 6.9
2022-11-07 | < | 1 |  |  | xxxx | [6 empty] | 15.7
2022-10-04 | < | 1 |  |  | 1.9473 | [6 empty] | 18
2022-09-26 |  | 4 |  |  | 2.4258 | [6 empty] | 9.9
2022-09-19 |  | 7 |  |  | 3.2772 | [6 empty] | 12.8
2022-09-12 |  | 1 |  |  | 2.5508 | [6 empty] | 3.5
2022-09-06 |  | 1 |  |  | 3.3659 | [6 empty] | 7.1
2022-08-29 |  | 3 |  |  | 3.8664 | [6 empty] | 1.1
2022-08-22 |  | 18 |  |  | 4.919 | [6 empty] | 5.9
2022-08-15 | < | 2 |  |  | 7.9684 | [6 empty] | 0.9
2022-08-08 |  | 4 |  |  | 12.6491 | [6 empty] | 3.1
2022-08-01 |  | 2 |  |  | 18.7647 | [6 empty] | 3.3
2022-07-25 |  | 10 |  |  | 20.7179 | [6 empty] | 4.7
07/20/22 resample |  | 4 |  |  | 16.4624 | [6 empty] | 0.7
2022-07-18 | > | 400 |  |  | 20.84 | [6 empty] | 3.2
2022-07-11 |  | 32 |  |  | 11.5416 | [6 empty] | 4.6
07/06/22 resample |  | 2 |  |  | 8.5164 | [6 empty] | 8.9
2022-07-05 | > | 400 |  |  | 10.6091 | [6 empty] | 9.1
2022-06-27 |  | 4 |  |  | 4.2236 | [6 empty] | 9.9
2022-06-21 | < | 2 |  |  | 5.7059 | [6 empty] | 9.1
2022-06-13 |  | 7 |  |  | 9.2172 | [6 empty] | 0.4
2022-06-07 |  | 6 |  |  | 8.2413 | [6 empty] | 3
2022-05-31 |  | 4 |  |  | 12.2759 | [6 empty] | 0.1
2022-05-23 |  | 18 |  |  | xxxx | [6 empty] | 1.1
2022-05-16 |  | 22 |  |  | xxxx | [6 empty] | 1
2022-05-09 |  | 4 |  |  | xxxx | [6 empty] | 0.3
2022-05-02 |  | 44 |  |  | xxxx | [6 empty] | 0.8
2022-04-04 |  | 36 |  |  | xxxx | [6 empty] | 0
2022-03-14 |  | 12 |  |  | xxxx | [6 empty] | 0.2
2022-02-07 |  | 56 |  |  | xxxx | [6 empty] | 2.7
2022-01-10 |  | 68 |  |  | xxxx | [6 empty] | 0.3
2021-12-13 |  | 10 |  |  | xxxx | [6 empty] | 12.8
2021-11-02 |  | 20 |  |  | xxxx | [6 empty] | 12.3
2021-10-12 |  | 4 |  |  | xxxx | [6 empty] | 2.9
2021-09-27 |  | 13 |  |  | 25.0401 | [6 empty] | 1.8
2021-09-22 |  | 102 |  |  | 33.7702 | [6 empty] | 0.2
2021-09-13 |  | 4 |  |  | 17.6695 | [6 empty] | 4.1
2021-09-07 |  | 32 |  |  | 19.1621 | [6 empty] | 0.3
2021-09-01 |  | 58 |  |  | 15.185 | [6 empty] | 0.3
2021-08-23 |  | 58 |  |  | 12.2725 | [6 empty] | 0.2
2021-08-16 |  | 4 |  |  | 10.1096 | [6 empty] | 12.5
2021-08-09 |  | 6 |  |  | 11.3068 | [6 empty] | 0.9
2021-08-04 |  | 10 |  |  | 10.4261 | [6 empty] | 1.6
2021-07-26 |  | 20 |  |  | 9.971 | [6 empty] | 0.1
2021-07-19 |  | 22 |  |  | 36.8649 | [6 empty] | 0.1
2021-07-12 |  | 7 |  |  | 40.849 | [6 empty] | 0.1
2021-07-06 |  | 4 |  |  | 48.13 | [6 empty] | 0.4
2021-06-28 |  | 8 |  |  | 44.1354 | [6 empty] | 0.1
06/24/21 resample |  | 38 |  |  | 56.3306 | [6 empty] | 0.1
06/23/21 resample |  | 253 |  |  | 60.1503 | [6 empty] | 0.1
06/22/21 resample | > | 600 |  |  | 45.1296 | [6 empty] | 0.1
2021-06-21 |  | 120 |  |  | 14.4224 | [6 empty] | 0.5
2021-06-14 |  | 50 |  |  | 7.3049 | [6 empty] | 0.2
2021-06-08 |  | 26 |  |  | 11.5402 | [6 empty] | 1.6
2021-06-01 |  | 2 |  |  | 9.482 | [6 empty] | 4.7
2021-05-24 | < | 2 |  |  | 12.9442 | [6 empty] | 0.5
2021-05-17 |  | 4 |  |  | xxxx | [6 empty] | 0.2
05/11/21 resample |  | 34 |  |  | xxxx | [6 empty] | 0.1
2021-05-10 |  | 167 |  |  | xxxx | [6 empty] | 3.3
2021-05-03 |  | 8 |  |  | xxxx | [6 empty] | 0.1
2021-04-13 |  | 98 |  |  | xxxx | [6 empty] | 0.1
2021-03-02 |  | 76 |  |  | xxxx | [6 empty] | 3.5
02/17/21 resample |  | 26 |  |  | xxxx | [6 empty] | 7.9
02/11/21 resample |  | 320 |  |  | xxxx | [6 empty] | 3.8
02/10/21 resample |  | 327 |  |  | xxxx | [6 empty] | 3.5
2021-02-09 |  | 440 |  |  | xxxx | [6 empty] | 5.8
2021-01-04 |  | 28 |  |  | xxxx | [6 empty] | 0.5
12/08/20 resample | < | 2 |  |  | xxxx | [6 empty] | 4.4
2020-12-07 |  | 240 |  |  | xxxx | [6 empty] | 2.2
2020-11-02 |  | *Unable to sample, site barricaded off at road for debris/pier clean-up, will plan to sample on 12/07/2020 if site re-opened
2020-10-19 | < | 2 |  |  | xxxx | [6 empty] | 9.5
2020-09-28 |  | 7 |  |  | xxxx | [6 empty] | 8.7
2020-09-23 |  | 2 |  |  | xxxx | [6 empty] | 15.3
2020-09-08 |  | 4 |  |  | 5.6754 | [6 empty] | 14.2
2020-08-31 |  | 2 |  |  | 6.5193 | [6 empty] | 1.7
2020-08-26 |  | 46 |  |  | 8.3755 | [6 empty] | 14.8
2020-08-17 | < | 2 |  |  | 4.4737 | [6 empty] | 9.6
2020-08-10 |  | 8 |  |  | 7.7892 | [6 empty] | 2.1
2020-08-03 |  | 8 |  |  | 8.9474 | [6 empty] | 2.8
2020-07-27 |  | 7 |  |  | 6.7809 | [6 empty] | 9.1
2020-07-20 |  | 2 |  |  | 20.9089 | [6 empty] | 4.7
2020-07-13 |  | 32 |  |  | 23.4695 | [6 empty] | 4.6
2020-07-06 |  | 16 |  |  | 50.5377 | [6 empty] | 3.6
2020-06-29 |  | 2 |  |  | 62.1779 | [6 empty] | 0.3
06/23/20 resample |  | 68 |  |  | 62.1779 | [6 empty] | 4.5
2020-06-22 | > | 600 |  |  | 61.3879 | [6 empty] | 5.2
06/15/20 resample |  | 4 |  |  | 47.2482 | [6 empty] | 2.1
6/11/20 resample |  | 112 |  |  | 71.3027 | [6 empty] | 0.8
06/10/20 resample |  | 133 |  |  | 65.1454 | [6 empty] | 3.4
2020-06-09 |  | 547 |  |  | 28.1397 | [6 empty] | 3.1
2020-06-02 |  | 84 |  |  | 14.5187 | [6 empty] | 6.5
2020-05-26 |  | 2 |  |  | xxxx | [6 empty] | 2.3
2020-05-18 |  | 96 |  |  | xxxx | [6 empty] | 3.9
2020-05-11 |  | 2 |  |  | xxxx | [6 empty] | 0.5
2020-05-04 |  | 20 |  |  | xxxx | [6 empty] | 0.1
04/21/20 resample |  | 86 |  |  | xxxx | [6 empty] | 0.2
2020-04-20 |  | 380 |  |  | xxxx | [6 empty] | 0.2
2020-03-02 |  | 32 |  |  | xxxx | [6 empty] | 0
2020-02-03 |  | 8 |  |  | xxxx | [6 empty] | 0.5
2020-01-06 |  | 38 |  |  | xxxx | [6 empty] | 0.2
2019-12-02 |  | 80 |  |  | xxxx | [6 empty] | 1.8
2019-11-04 |  | 10 |  |  | xxxx | [6 empty] | 3.8
2019-10-07 |  | 13 |  |  | xxxx | [6 empty] | 14.4
2019-09-23 |  | 7 |  |  | 5.4518 | [6 empty] | 14.5
2019-09-16 |  | 2 |  |  | 4.8745 | [6 empty] | 15.1
2019-09-09 |  | 2 |  |  | 6.0723 | [6 empty] | 14.1
2019-09-03 | < | 2 |  |  | 13.545 | [6 empty] | 15.7
2019-08-27 |  | 86 |  |  | 13.545 | [6 empty] | 7.7
2019-08-19 |  | 4 |  |  | 10.2341 | [6 empty] | 5.8
2019-08-12 |  | 6 |  |  | 16.7176 | [6 empty] | 2.9
08/06/19 resample |  | 8 |  |  | 13.9205 | [6 empty] | 3
2019-08-05 |  | 187 |  |  | 15.5513 | [6 empty] | 8.9
2019-07-29 | < | 2 |  |  | 7.8168 | [6 empty] | 5.1
2019-07-22 |  | 16 |  |  | 8.9791 | [6 empty] | 0.6
2019-07-15 |  | 76 |  |  | 9.8948 | [6 empty] | 8.9
2019-07-08 |  | 2 |  |  | 5.9549 | [6 empty] | 3
2019-07-01 |  | 6 |  |  | 5.9549 | [6 empty] | 4.6
2019-06-24 |  | 4 |  |  | 7.2455 |  |  | 29.28 | 6.18 | 7.75 | 8426 | 4.66
2019-06-17 |  | 26 |  |  | 9.0259 | [6 empty] | 4
2019-06-10 |  | 6 |  |  | 20.9102 | [6 empty] | 0.6
2019-06-04 | < | 2 |  |  | 25.1118 | [6 empty] | 0.4
2019-05-28 |  | 16 |  |  | 42.0354 | [6 empty] | 0.2
2019-05-20 |  | 12 |  |  | 50.9935 | [6 empty] | 0.1
05/14/19 resample |  | 40 |  |  | xxxx | [6 empty] | 0.08
2019-05-13 |  | 907 |  |  | xxxx | [6 empty] | 0.04
2019-05-06 |  | 18 |  |  | xxxx | [6 empty] | 0.14
2019-04-29 |  | 44 |  |  | xxxx | [6 empty] | 0.02
2019-04-01 |  | 10 |  |  | xxxx | [6 empty] | 0.15
2019-03-11 |  | 98 |  |  | xxxx | [6 empty] | 0.01
2019-02-04 |  | 24 |  |  | xxxx | [6 empty] | 0.1
2019-01-07 |  | 94 |  |  | xxxx | [6 empty] | 0.1
2018-12-03 |  | 38 |  |  | xxxx | [6 empty] | 3.3
2018-11-05 |  | 24 |  |  | xxxx | [6 empty] | 9.7
2018-10-01 |  | 2 |  |  | xxxx | [6 empty] | 12.2
2018-09-24 |  | 8 |  |  | xxxx | [6 empty] | 9.3
2018-09-17 |  | 4 |  |  | xxxx | [6 empty] | 9.3
2018-09-10 |  | 14 |  |  | xxxx | [6 empty] | 0.7
2018-08-27 |  | 2 |  |  | 3.8373 | [6 empty] | 11.9
2018-08-20 |  | 8 |  |  | 3.8373 | [6 empty] | 5.2
2018-08-13 | < | 2 |  |  | 4.2917 | [6 empty] | 6.2
2018-08-06 |  | 2 |  |  | 6.1413 | [6 empty] | 4.4
2018-07-30 |  | 13 |  |  | 7.0545 | [6 empty] | 11.6
2018-07-23 | < | 2 |  |  | 4.8516 | [6 empty] | 0.5
2018-07-16 |  | 14 |  |  | 6.0438 | [6 empty] | 6.4
2018-07-09 |  | 12 |  |  | 4.0953 | [6 empty] | 5.4
2018-07-02 |  | 4 |  |  | 10.9135 | [6 empty] | 4.9
2018-06-25 | < | 2 |  |  | 16.2753 | [6 empty] | 2.2
2018-06-18 |  | 6 |  |  | 19.5456 | [6 empty] | 2.1
2018-06-11 |  | 2 |  |  | 16.2753 | [6 empty] | 0.2
06/06/18 resample |  | 44 |  |  | 16.2753 | [6 empty] | 0.4
2018-06-05 | > | 400 |  |  | 13.3397 | [6 empty] | 0.4
2018-05-29 |  | 44 |  |  | 5.3106 | [6 empty] | 2.4
2018-05-21 |  | 6 |  |  | 6.2831 | [6 empty] | 4.2
2018-05-14 | < | 2 |  |  | 12.1794 | [6 empty] | 1.6
2018-05-07 | < | 2 |  |  | 17.4801 | [6 empty] | 0.2
2018-04-30 |  | 4 |  |  | xxxx | [6 empty] | 7.4
2018-04-24 |  | 102 |  |  | xxxx | [6 empty] | 0.1
04/17/18 resample |  | 10 |  |  | xxxx | [6 empty] | 0.1
2018-04-16 |  | 200 |  |  | xxxx | [6 empty] | 0.1
2018-03-05 |  | 14 |  |  | xxxx | [6 empty] | 0.1
2018-02-05 |  | 6 |  |  | xxxx | [6 empty] | 14.8
2018-01-09 |  | 27 |  |  | xxxx | [6 empty] | 17.7
2017-12-04 | < | 2 |  |  | xxxx | [6 empty] | 20
2017-11-06 |  | 38 |  |  | xxxx | [6 empty] | 1.5
2017-10-02 | < | 2 |  |  | 2.2974 | [6 empty] | 19.2
2017-09-25 |  | 2 |  |  | 2.2974 | [6 empty] | 15
2017-09-18 | < | 2 |  |  | 2.639 | [6 empty] | 2.9
2017-09-11 |  | 4 |  |  | xxxx | [6 empty] | 12.1
2017-09-05 | < | 2 |  |  | xxxx | [6 empty] | 9
2017-08-28 | < | 2 |  |  | xxxx | [6 empty] | 19.4
2017-08-21 |  | 4 | [9 empty] | 3.1
2017-08-14 |  | Site closed for construction
2017-08-07 |  | 6 |  |  | 5.2614 | [6 empty] | 7
2017-07-31 | < | 2 |  |  | 5.2614 |  |  | 30.24 | 5.69 | 7.32 | 22395 | 14
2017-07-24 |  | 28 |  |  | 7.2594 | [6 empty] | 0.3
2017-07-17 |  | 6 |  |  | 4.2823 | [6 empty] | 0.1
2017-07-10 |  | 2 |  |  | 4.5359 | [6 empty] | 0.1
2017-07-05 |  | 6 |  |  | 5.2103 | [6 empty] | 0.5
2017-06-26 |  | 10 |  |  | 7.6893 | [6 empty] | 0.1
2017-06-19 |  | 2 |  |  | 9.0027 | [6 empty] | 0.4
2017-06-12 |  | 8 |  |  | 9.0027 | [6 empty] | 0.3
2017-06-06 |  | 4 |  |  | 6.8227 | [6 empty] | 0.4
2017-05-30 |  | 42 |  |  | 12.7733 | [6 empty] | 0.3
2017-05-22 |  | 22 |  |  | 13.653 | [6 empty] | 0.7
2017-05-15 | < | 2 |  |  | 11.5347 | [6 empty] | 0.4
2017-05-08 |  | 2 |  |  | 16.3757 | [6 empty] | 0.2
05/02/17 resample |  | 92 |  |  | xxxx | [6 empty] | 0.9
2017-05-01 | > | 400 |  |  | xxxx | [6 empty] | 2
2017-04-25 | < | 2 |  |  | xxxx | [6 empty] | 0.3
2017-04-19 |  | 8 |  |  | xxxx | [6 empty] | 0.2
2017-03-13 |  | 4 |  |  | xxxx | [6 empty] | 7.3
2017-02-06 |  | 4 |  |  | xxxx | [6 empty] | 2.3
2017-01-09 |  | 32 |  |  | xxxx | [6 empty] | 8.3
2016-12-05 |  | 54 |  |  | xxxx | [6 empty] | 21.3
2016-11-07 | < | 2 |  |  | xxxx | [6 empty] | 22.4
2016-10-03 |  | 2 |  |  | xxxx | [6 empty] | 18.5
2016-09-28 | < | 2 |  |  | xxxx | [6 empty] | 14.7
2016-09-21 |  | 2 |  |  | xxxx | [6 empty] | 15.6
2016-09-14 |  | 2 |  |  | xxxx | [6 empty] | 15.4
2016-09-07 |  | 2 |  |  | xxxx | [6 empty] | 14.9
2016-08-31 |  | 26 |  |  | xxxx | [6 empty] | 18.7
2016-08-24 |  | Site closed for construction
2016-08-17 |  | Site closed for construction
2016-08-08 |  | Site closed for construction
2016-08-03 |  | Site closed for construction
2016-07-25 |  | 6 |  |  | 11.9326 | [6 empty] | 14.2
2016-07-20 |  | 4 |  |  | 12.6393 | [6 empty] | 8.7
2016-07-13 |  | 2 |  |  | 17.7744 | [6 empty] | 8.1
2016-07-06 |  | 90 |  |  | 33.8363 | [6 empty] | 8.3
2016-06-28 |  | 56 |  |  | 15.803 |  |  | 30.14 | 5.3 | 7.62 | 8656 | 4.79
2016-06-22 |  | 8 |  |  | 21.0478 | [6 empty] | 1.7
2016-06-15 |  | 22 |  |  | 24.9132 | [6 empty] | 7.4
2016-06-08 |  | 50 |  |  | 21.8453 | [6 empty] | 7.6
2016-06-01 | < | 2 |  |  | 29.4684 | [6 empty] | 4.4
05/26/16 resample |  | 20 |  |  | 68.6794 | [6 empty] | 5.2
2016-05-25 |  | 247 |  |  | 63.846 | [6 empty] | 4.9
2016-05-19 |  | 22 |  |  | 50.9573 | [6 empty] | 4.89
2016-05-11 |  | 10 |  |  | 52.396 | [6 empty] | 3
05/09/16 resample |  | 46 |  |  | 72.9723 | [6 empty] | 1.6
05/05/16 resample |  | 193 |  |  | xxxx | [6 empty] | 0.2
2016-05-04 |  | 747 |  |  | xxxx | [6 empty] | 0.3
2016-04-27 |  | 12 |  |  | xxxx | [6 empty] | 0.18
2016-04-20 |  | 26 |  |  | xxxx | [6 empty] | 0.4
2016-03-01 |  | 50 |  |  | xxxx |  |  | 16.93 | 8.62 | 6.99 | 545 | 0.26
02/10/16 resample |  | 48 |  |  | xxxx | [6 empty] | 0.1
02/03/16 resample |  | 1147 |  |  | xxxx | [6 empty] | 0.2
2016-02-01 |  | 127 |  |  | xxxx | [6 empty] | 0.4
2016-01-05 |  | 68 |  |  | xxxx | [6 empty] | 0.1
2015-12-01 |  | 18 |  |  | xxxx | [6 empty] | 3.9
2015-11-03 |  | 18 |  |  | xxxx | [6 empty] | 10
2015-10-05 |  | 8 |  |  | xxxx | [6 empty] | 13
2015-09-21 |  | 26 |  |  | 7.3049 | [6 empty] | 16.3
2015-09-14 |  | 10 |  |  | 5.4481 | [6 empty] | 12.9
2015-09-08 | < | 2 |  |  | 4.919 | [6 empty] | 15.3
2015-08-31 |  | 2 |  |  | 5.6505 | [6 empty] | 16.1
2015-08-24 |  | 20 |  |  | 7.4558 | [6 empty] | 12.6
2015-08-17 |  | 6 |  |  | 5.4038 | [6 empty] | 17.4
2015-08-10 |  | 6 |  |  | 5.7239 | [6 empty] | 14.7
2015-08-03 |  | 4 |  |  | 7.4224 | [6 empty] | 11.6
2015-07-27 |  | 8 |  |  | 10.438 | [6 empty] | 6.1
2015-07-20 |  | 4 |  |  | 12.5373 | [6 empty] | 3.8
2015-07-13 |  | 8 |  |  | 13.5964 | [6 empty] | 0.3
2015-07-06 |  | 22 |  |  | 11.8363 | [6 empty] | 2.2
2015-06-29 |  | 22 |  |  | 10.8133 | [6 empty] | 0.7
2015-06-22 |  | 20 |  |  | 14.4577 | [6 empty] | 0.9
2015-06-15 |  | 6 |  |  | 19.0771 | [6 empty] | 3.4
2015-06-08 |  | 4 |  |  | 15.3139 | [6 empty] | 7
2015-06-02 |  | 14 |  |  | 18.394 | [6 empty] | 0.5
2015-05-26 |  | 94 |  |  | 54.8506 | [6 empty] | 3.3
2015-05-18 |  | 80 |  |  | 51.4432 |  |  | 27.35 | 6.24 | 7.58 | 1223 | 0.6
2015-05-11 |  | 2 |  |  | 47.7933 | [6 empty] | 0.6
2015-05-04 |  | 10 |  |  | 90.1643 | [6 empty] | 1.2
04/30/15 resample |  | 44 |  |  | xxxx | [6 empty] | 0.1
04/29/15 resample |  | 513 |  |  | xxxx | [6 empty] | 0.1
2015-04-28 |  | 440 |  |  | xxxx | [6 empty] | 0.2
2015-04-20 |  | 60 |  |  | xxxx |  |  | 22.97 | 7.76 | 6.75 | 524 | 0.25
2015-03-02 |  | 98 |  |  | xxxx | [6 empty] | 0.44
2015-02-09 |  | 4 |  |  | xxxx | [6 empty] | 30.6
2015-01-05 |  | 68 |  |  | xxxx | [6 empty] | 6.46
2014-12-08 |  | 2 |  |  | xxxx | [6 empty] | 16.9
2014-11-03 |  | 2 |  |  | xxxx | [6 empty] | 15
10/07/14 resample |  | 4 |  |  | xxxx | [6 empty] | 14.7
2014-10-06 |  | 220 |  |  | xxxx | [6 empty] | 16.4
2014-09-22 |  | 4 |  |  | 8.9314 | [6 empty] | 11.8
2014-09-15 |  | 24 |  |  | 10.2595 | [6 empty] | 14.9
2014-09-08 |  | 4 |  |  | 8.9314 | [6 empty] | 13.8
2014-09-02 |  | 74 |  |  | 8.9314 | [6 empty] | 13.4
2014-08-25 |  | 2 |  |  | 6.7317 | [6 empty] | 17
2014-08-18 |  | 8 |  |  | 9.118 |  |  | 28.68 | 6.2 | 7.38 | 13053 | 14.6
2014-08-11 |  | 12 |  |  | 10.8432 | [6 empty] | 10.6
2014-08-04 |  | 4 |  |  | 12 | [6 empty] | 16.6
2014-07-28 |  | 18 |  |  | 12 | [6 empty] | 1
2014-07-21 |  | no sample collected 07/21/2014 site closed
2014-07-14 |  | 16 |  |  | 9.288 |  |  | 29.74 | 4.01 | 7.26 | 13555 | 7.77
2014-07-07 |  | 18 |  |  | 10.9176 | [6 empty] | 4.4
2014-06-30 |  | 4 |  |  | 17.1768 | [6 empty] | 0.5
2014-06-23 |  | 10 |  |  | 24.0318 | [6 empty] | 1.7
2014-06-16 |  | 6 |  |  | 27.8071 | [6 empty] | 0.3
2014-06-09 |  | 28 |  |  | 39.5936 | [6 empty] | 0.7
06/04/14 resample |  | 14 |  |  | 42.4345 | [6 empty] | 0.8
2014-06-03 |  | 273 |  |  | 37.9412 | [6 empty] | 0.8
2014-05-27 |  | 30 |  |  | xxxx | [6 empty] | 0.3
2014-05-19 |  | 24 |  |  | xxxx | [6 empty] | 0.2
2014-05-12 |  | 50 |  |  | xxxx | [6 empty] | 0.2
2014-05-05 |  | 8 |  |  | xxxx | [6 empty] | 0.2
2014-04-21 |  | 28 |  |  | xxxx | [6 empty] | 0.1
2014-03-10 |  | 2 |  |  | xxxx | [6 empty] | 0.9
02/04/14 resample |  | 4 |  |  | xxxx | [6 empty] | 10.9
2014-02-03 |  | 200 |  |  | xxxx | [6 empty] | 9.1
2014-01-13 |  | 58 |  |  | xxxx | [6 empty] | 0.6
2013-12-02 |  | 16 |  |  | xxxx | [6 empty] | 4.7
2013-11-04 |  | 4 |  |  | xxxx | [6 empty] | 11.5
2013-10-15 |  | 4 |  |  | xxxx | [6 empty] | 15.7
2013-09-23 |  | 4 |  |  | 7.3503 | [6 empty] | 13.8
2013-09-16 |  | 2 |  |  | 14.0245 | [6 empty] | 7.8
2013-09-09 |  | 16 |  |  | 15.7419 | [6 empty] | 5.1
2013-09-03 | < | 2 |  |  | 16.6 | [6 empty] | 2.3
2013-08-26 |  | 22 |  |  | 30.8252 | [6 empty] | 8.1
08/20/13 resample |  | 28 |  |  | 29.2318 | [6 empty] | 2.2
2013-08-19 |  | 193 |  |  | 29.4846 | [6 empty] | 3.3
2013-08-12 |  | 4 |  |  | 23.0208 | [6 empty] | 0.5
2013-08-05 |  | 22 |  |  | 41.9109 | [6 empty] | 1
2013-07-29 |  | 82 |  |  | 38.2885 |  |  | 29.73 | 5.37 | 7.66 | 770 | 0.37
2013-07-22 |  | 16 |  |  | 59.3974 | [6 empty] | 2
2013-07-15 |  | 56 |  |  | 42.0003 | [6 empty] | 1.1
2013-07-08 |  | 80 |  |  | 39.652 | [6 empty] | 4.1
2013-07-01 |  | 14 |  |  | 21.7801 | [6 empty] | 0.5
06/25/13 resample |  | 80 |  |  | 18.9606 | [6 empty] | 2.1
2013-06-24 |  | 547 |  |  | 13.2295 | [6 empty] | 2.3
2013-06-17 |  | 2 |  |  | 5.1944 | [6 empty] | 0.3
2013-06-04 |  | 4 |  |  | 9.4221 | [6 empty] | 0.4
2013-05-28 |  | 7 |  |  | 10.218 | [6 empty] | 0.2
2013-05-20 |  | 13 |  |  | 14.1777 | [6 empty] | 0.4
2013-05-13 |  | 6 |  |  | xxxx |  |  | 20.3 | 8.87 | 6.95 | 313 | 0.15 | 18.8
2013-05-06 |  | 34 |  |  | xxxx | [6 empty] | 0.1
2013-04-29 |  | 6 |  |  | xxxx | [6 empty] | 0.3
2013-04-23 |  | 36 |  |  | xxxx |  |  | 20.48 | 7.86 | 7.09 | 526 | 0.25
2013-03-04 |  | 24 |  |  | xxxx | [6 empty] | 0.2
2013-02-04 |  | 6 |  |  | xxxx | [6 empty] | 0.5
2013-01-07 |  | 98 |  |  | xxxx | [6 empty] | 8.8
2012-12-03 |  | 90 |  |  | xxxx | [6 empty] | 18.7
2012-11-05 | < | 2 |  |  | xxxx | [6 empty] | 16.1
10/03/12 resample |  | 20 |  |  | 22.9766 | [6 empty] | 13.3
10/02/12 resample |  | 233 |  |  | 23.5142 | [6 empty] | 9.4
2012-10-01 |  | 687 |  |  | 21.1677 | [6 empty] | 12
2012-09-24 |  | 6 |  |  | 10.554 | [6 empty] | 11
2012-09-17 |  | 4 |  |  | 16.255 | [6 empty] | 9.6
2012-09-10 |  | 2 |  |  | 16.255 | [6 empty] | 8.3
09/05/12 resample |  | 22 |  |  | 27.4459 | [6 empty] | 3.7
2012-09-04 |  | 124 |  |  | 25.3455 | [6 empty] | 5.2
2012-08-20 |  | 52 |  |  | 6.6811 | [6 empty] | 3
2012-08-13 |  | 4 |  |  | 5.6251 | [6 empty] | 6.5
2012-08-06 |  | 16 |  |  | 6.1003 | [6 empty] | 4.1
2012-07-30 |  | 2 |  |  | 4.0247 | [6 empty] | 4.1
2012-07-23 |  | 2 |  |  | 5.9395 | [6 empty] | 8.3
2012-07-16 |  | 22 |  |  | 9.7631 | [6 empty] | 12.2
2012-07-09 |  | 6 |  |  | 29.5424 | [6 empty] | 9.5
2012-07-02 | < | 2 |  |  | 34.5626 |  |  | 30.39 | 4.35 | 6.05 | 17864 | 10.46
2012-06-25 |  | 14 |  |  | 34.5626 | [6 empty] | 11.3
2012-06-18 |  | 24 |  |  | 34.5626 | [6 empty] | 10.1
06/13/12 resample |  | 30 |  |  | 36.7287 | [6 empty] | 1.3
06/12/12 resample |  | 132 |  |  | 23.3878 | [6 empty] | 3
2012-06-11 |  | 1230 |  |  | 16.5452 | [6 empty] | 2.5
2012-06-05 |  | 18 |  |  | 8.0721 | [6 empty] | 5.8
2012-05-29 | < | 2 |  |  | 6.4798 |  |  | 30.34 | 3.2 | 7.51 | 16927 | 9.9
2012-05-22 |  | 14 |  |  | 6.4798 | [6 empty] | 10.8
2012-05-14 |  | 2 |  |  | xxxx | [6 empty] | 4.3
2012-05-07 |  | 34 |  |  | xxxx | [6 empty] | 4.5
2012-04-30 |  | 6 |  |  | xxxx |  |  | 25.46 | 6.51 | 5.88 | 8097 | 4.49
2012-04-24 | < | 2 |  |  | xxxx |  |  | 19.13 | 7.99 | 5.64 | 5895 | 3.12
2012-03-05 |  | 62 |  |  | xxxx | [6 empty] | 1.4
2012-02-07 |  | 36 |  |  | xxxx | [6 empty] | 1.8
2012-01-09 |  | 2 |  |  | xxxx | [6 empty] | 2.8
2011-12-05 |  | 20 |  |  | xxxx | [6 empty] | 19.5
2011-11-15 |  | 20 |  |  | xxxx |  |  | 19.24 | 8.07 | 7.56 | 28353 | 17.54 | 4.5
2011-10-17 | < | 2 |  |  | xxxx | [6 empty] | 14.6
2011-09-28 |  | 2 |  |  | 3.5652 | [6 empty] | 4.2
2011-09-19 |  | 6 |  |  | 5.7592 | [6 empty] | 10.7
2011-09-12 |  | 4 |  |  | 7.9462 | [6 empty] | 1.6
2011-09-07 |  | 6 |  |  | 18.0178 | [6 empty] | 17.4
2011-08-29 |  | 2 |  |  | 20.2243 | [6 empty] | 15.8
2011-08-22 |  | 22 |  |  | 30.6011 | [6 empty] | 14.7
2011-08-15 |  | 30 |  |  | 40.7974 |  |  | 29.71 | 4.41 | 7.46 | 9938 | 5.8 | 16.1
08/09/11 resample |  | 12 |  |  | 34.8716 | [6 empty] | 6.7
2011-08-08 |  | 360 |  |  | 41.657 | [6 empty] | 7.1
2011-08-01 |  | 12 |  |  | 21.0537 | [6 empty] | 6.7
2011-07-25 |  | 24 |  |  | 24.1005 | [6 empty] | 1.4
2011-07-19 |  | 56 |  |  | 15.928 | [6 empty] | 5.4
2011-07-18 |  | 90 |  |  | 12.3868 | [6 empty] | 5.8
2011-07-11 |  | 10 |  |  | 8.7687 | [6 empty] | 5
2011-07-05 |  | 6 |  |  | 9.6329 |  |  | 31.26 | 4.66 | 7.36 | 12522 | 7.06 | 10
2011-06-27 |  | 27 |  |  | 7.7327 | [6 empty] | 4.7
2011-06-20 | < | 2 |  |  | 11.1927 | [6 empty] | 9.2
2011-06-13 |  | 16 |  |  | 17.2712 |  |  | 28.33 | 8.23 | 6.87 | 6229 | 3.37
2011-06-07 |  | 16 |  |  | 16.4626 | [6 empty] | 2.4
2011-05-31 |  | 2 |  |  | 15.2223 |  |  | 28.49 | 6.11 | 7.3 | 7544 | 4.14
05/24/11 resample |  | 8 |  |  | 22.8438 | [6 empty] | 1.3
2011-05-23 |  | 240 |  |  | 26.8662 | [6 empty] | 2.4
2011-05-16 |  | 27 |  |  | xxxx |  |  | 21.82 | 7.88 | 7.41 | 432 | 0.21 | 36.6
2011-05-09 |  | 12 |  |  | xxxx |  |  | 26.25 | 8.04 | 7.23 | 761 | 0.37 | 24
2011-05-02 |  | 10 |  |  | xxxx | [6 empty] | 0.2
2011-04-18 |  | 18 |  |  | xxxx |  |  | 21 | 9.21 | 7.69 | 399 | 0.19 | 31
03/02/11 resample |  | 14 |  |  | xxxx | [6 empty] | 6.6
2011-03-01 |  | 133 |  |  | xxxx | [6 empty] | 5.7
2011-02-07 |  | 38 |  |  | xxxx | [6 empty] | 0.6
2011-01-18 |  | 16 |  |  | xxxx | [6 empty] | 12.2
2010-12-07 |  | 4 |  |  | xxxx | [6 empty] | 1.5
11/04/10 resample |  | 40 |  |  | xxxx | [6 empty] | 15.1
2010-11-03 | > | 400 |  |  | xxxx | [6 empty] | 11.4
site closed for construction of new boat ramp and parking area
2010-02-03 |  | 48 |  |  | xxxx | [6 empty] | 0.2
2010-01-05 |  | 78 |  |  | xxxx | [6 empty] | 0.2
12/07/09 resample | < | 7 |  |  | xxxx | [6 empty] | 9.8
12/04/09 resample |  | 560 |  |  | xxxx | [6 empty] | 3.4
12/03/09 resample |  | 520 |  |  | xxxx | [6 empty] | 1.5
2009-12-02 |  | 440 |  |  | xxxx | [6 empty] | 9
2009-11-03 |  | 12 |  |  | xxxx | [6 empty] | 3.3
10/07/09 resample |  | 12 |  |  | 17.7528 | [6 empty] | 1.7
2009-10-06 |  | 144 |  |  | 18.9502 | [6 empty] | 0.5
2009-09-30 |  | 6 |  |  | 11.1578 | [6 empty] | 2.5
2009-09-23 |  | 2 |  |  | 9.2909 | [6 empty] | 0.7
09/17/09 resample |  | 50 |  |  | 16.5734 | rain | [5 empty] | 9
2009-09-16 |  | 134 |  |  | 13.7875 | [6 empty] | 13
2009-09-10 |  | 4 |  |  | 8.216 | [6 empty] | 11.6
2009-09-02 |  | 6 |  |  | 8.216 | [6 empty] | 14.1
2009-08-26 | < | 2 |  |  | 9.8669 | [6 empty] | 12.1
08/20/09 resample |  | 4 |  |  | 16.2562 | [6 empty] | 14.5
2009-08-19 |  | 267 |  |  | 21.5185 | [6 empty] | 14.5
2009-08-12 |  | 6 |  |  | 12.2555 | [6 empty] | 6.4
2009-08-05 |  | 4 |  |  | 12.9814 | [6 empty] | 1.4
2009-07-29 |  | 18 |  |  | 11.3009 | [6 empty] | 8.9
2009-07-22 |  | 40 |  |  | 7.2823 | [6 empty] | 9.6
2009-07-15 |  | 16 |  |  | 5.7239 | [6 empty] | 2.9
2009-07-08 |  | 8 |  |  | 3.7764 | [6 empty] | 3.2
2009-07-01 | < | 2 |  |  | 4.5359 | [6 empty] | 1.3
2009-06-24 | < | 2 |  |  | 5.9851 | [6 empty] | 0.3
2009-06-17 |  | 12 |  |  | 9.4858 | [6 empty] | 0.4
2009-06-10 | < | 2 |  |  | 7.6146 | [6 empty] | 0.4
2009-06-04 |  | 20 |  |  | 27.0577 | [6 empty] | 0.2
2009-05-28 |  | 8 |  |  | 22.7821 | [6 empty] | 0.3
2009-05-20 |  | 20 |  |  | 22.7821 | [6 empty] | 0.3
2009-05-13 |  | 4 |  |  | 23.282 | [6 empty] | 0.3
05/08/09 resample |  | 14 |  |  | 33.1141 | [6 empty] | 0.1
5/7/09 resample |  | 193 |  |  | xxxx | [6 empty] | 0.4
2009-05-06 |  | 307 |  |  | xxxx |  |  | 25.73 | 8.48 | 7.7 | 706 | 0.34 | 138
2009-04-30 |  | 6 |  |  | xxxx |  |  | 24.18 | 9.16 | 7.74 | 710 | 0.34 | 40.1
2009-04-22 |  | 8 |  |  | xxxx | [6 empty] | 0.2
2009-03-03 |  | 4 |  |  | xxxx | [6 empty] | 6.8
2009-02-03 |  | 2 |  |  | xxxx | [6 empty] | 1.8
2009-01-06 |  | 14 |  |  | xxxx | [6 empty] | 7
2008-12-02 |  |  |  |  | xxxx | no sample low tide | [5 empty] | nd
2008-11-04 |  | 14 |  |  | xxxx | [6 empty] | 17.9
2008-10-07 |  | 32 |  |  | xxxx | [6 empty] | 15.9
2008-09-24 |  | 26 |  |  | 15.6294 | [6 empty] | 16
2008-09-17 |  | 8 |  |  | 12.2407 | [6 empty] | 10.3
2008-09-10 |  | 12 |  |  | 25.2909 | [6 empty] | 14.8
09/05/08 resample |  | 20 |  |  | 28.637 | [6 empty] | 0.9
2008-09-04 |  | 146 |  |  | 34.7632 | [6 empty] | 1.7
2008-08-28 | < | 2 |  |  | 31.0408 | [6 empty] | 4.7
2008-08-20 |  | 6 |  |  | 34.8421 | [6 empty] | 11.7
08/14/08 resample |  | 20 |  |  | 32.5654 | [6 empty] | 13.3
2008-08-13 |  | 787 |  |  | 35.9006 | rain | [5 empty] | 10.5
2008-08-06 |  | 64 |  |  | 13.5374 | [6 empty] | 4.2
2008-07-30 |  | 74 |  |  | 10.7277 | [6 empty] | 11.6
2008-07-23 |  | 4 |  |  | 5.2103 |  |  | 31.28 | 6.57 | 6.55 | 17097 | 9.98 | 11.8
2008-07-16 |  | 4 |  |  | 4.5359 | [6 empty] | 12.1
2008-07-09 |  | 6 |  |  | 6.1278 | [6 empty] | 7
2008-07-02 |  | 20 |  |  | 10.8412 | [6 empty] | 7.3
2008-06-25 | < | 2 |  |  | 11.9098 | [6 empty] | 5.5
2008-06-18 |  | 2 |  |  | 26.5749 | [6 empty] | 1.8
2008-06-11 |  | 18 |  |  | 38.3277 | [6 empty] | 0.6
2008-06-05 |  | 104 |  |  | 34.751 | [6 empty] | 0.5
2008-05-29 |  | 32 |  |  | 17.9873 | [6 empty] | 0.3
05/22/08 resample |  | 20 |  |  | 16.0249 | [6 empty] | 1.3
2008-05-21 |  | 147 |  |  | 15.3302 |  |  | 25.76 | 8.32 | 7.36 | 2607 | 3.5 | 52.3
2008-05-14 |  | 18 |  |  | xxxx | [6 empty] | 0.8
2008-05-07 |  | 10 |  |  | xxxx | [6 empty] | 4.2
2008-05-01 |  | 2 |  |  | xxxx | [6 empty] | 7.1 | 13.7
2008-04-23 |  | 16 |  |  | xxxx | [6 empty] | 0.6
2008-03-03 |  | 14 |  |  | xxxx | [6 empty] | 1.9 | 18.3
2008-02-12 |  | 6 |  |  | xxxx | [6 empty] | 7.3 | 23
01/10/08 resample |  | 20 |  |  | xxxx | [6 empty] | 18.1
01/09/08 resample |  | 133 |  |  | xxxx | [6 empty] | 16.5
2008-01-08 |  | 120 |  |  | xxxx | [6 empty] | 17 | 30.4
2007-12-04 |  | 44 |  |  | xxxx | [6 empty] | 12.1
2007-11-06 |  | 18 |  |  | xxxx | [6 empty] | 14
2007-10-17 |  | 65 |  |  | xxxx | [6 empty] | 20.2
9/27/2007 resample |  | 3 |  |  | 17.2269 | [6 empty] | 16.7
2007-09-26 |  | 120 |  |  | 24.4356 | [6 empty] | 18.7
2007-09-19 |  | 11 |  |  | 14.5558 | [6 empty] | 16.7
2007-09-12 |  | 4 |  |  | 10.3505 | [6 empty] | 10.1
2007-09-06 |  | 50 |  |  | 13.1277 | rain | [5 empty] | 18.4 | 17
2007-08-29 |  | 33 |  |  | 4.9368 | rain past 24 hrs. | [5 empty] | 16.4 | 14
2007-08-22 |  | 9 |  |  | 2.7108 | [6 empty] | 12.8
2007-08-15 |  | 2 |  |  | 2.2134 | [6 empty] | 12.4 | 29.8
2007-08-08 | [5 empty] | site closed for construction
2007-08-01 | < | 1 |  |  | 3.3078 | [6 empty] | 10.5
2007-07-25 |  | 3 |  |  | 7.5993 | [6 empty] | 15 | 12.8
2007-07-18 |  | 4 |  |  | 27.2914 | [6 empty] | 5.8 | 13.3
2007-07-11 |  | 3 |  |  | 33.2154 | [6 empty] | 20.2
2007-07-05 |  | 11 |  |  | 37.283 | rain past 24 hrs. | [5 empty] | 13.7 | 9.3
2007-06-27 |  | 64 |  |  | 30.0238 | [6 empty] | 14
6/21/2007 resample |  | 73 |  |  | 18.0283 | [6 empty] | 8.7
2007-06-20 | > | 670 |  |  | 13.6296 | rain past 24 hrs. | [5 empty] | 7.5 | 200
2007-06-13 |  | 13 |  |  | 4.8942 | [6 empty] | 11.7
2007-06-07 |  | 6 |  |  | 4.8164 | rain | [5 empty] | 11.2
2007-05-31 |  | 3 |  |  | 3.3659 | [6 empty] | 14.8 | 11
2007-05-23 |  | 3 |  |  | xxxx | [6 empty] | 13.7 | 11
2007-05-16 |  | 4 |  |  | xxxx | [6 empty] | 14.1 | 16
2007-05-09 |  | 12 |  |  | xxxx | [6 empty] | 6 | 22
2007-05-02 | < | 1 |  |  | xxxx |  |  | 26.74 | 5.57 | 7.61 | 16775 | 9.82 | 22
2007-04-09 |  | 22 |  |  | xxxx | [6 empty] | 5.6 | 44
2007-03-12 |  | 2 |  |  | xxxx | [6 empty] | 5.5 | 7.7
2007-02-12 |  | 6 |  |  | xxxx | [6 empty] | 5.2 | 21
01/10/07 resample |  | 45 |  |  | xxxx | [6 empty] | 0.7
01/09/07 resample | > | 667 |  |  | xxxx | [6 empty] | 0.4
2007-01-08 | > | 200 |  |  | xxxx | rain past 24 hrs. |  | 13.93 | 10.04 | 6.87 | 1766 | 0.9 | 137.2
2006-12-11 |  | 1 |  |  | xxxx |  |  | 11.52 | 9.31 | 7.52 | 24591 | 14.87 | 4.5
2006-11-06 |  | 2 |  |  | xxxx | rain | [5 empty] | 14.6 | 7.1
10/23/06 resample |  | 67 |  |  | xxxx | [6 empty] | 7
10/20/06 resample | > | 667 |  |  | xxxx | [6 empty] | 8.4
10/19/06 resample |  | 340 |  |  | xxxx | [6 empty] | 13.1 | 10.5
2006-10-18 | > | 200 |  |  | xxxx | [6 empty] | 12.4 | 10
2006-09-27 | < | 1 |  |  | 13.7652 | [6 empty] | 12.3 | 13.2
2006-09-20 |  | 52 |  |  | 26.4105 | [6 empty] | 13 | 54.2
2006-09-13 |  | 88 |  |  | 18.5962 | [6 empty] | 16.5 | 42.6
2006-09-07 |  | 6 |  |  | 11.2085 | [6 empty] | 14.1 | 18.2
2006-08-30 |  | 18 |  |  | 14.4 | [6 empty] | 10.1 | 22.2
2006-08-23 |  | 26 |  |  | 13.6941 | [6 empty] | 15.3 | 7.8
2006-08-16 |  | 9 |  |  | 13.6941 | [6 empty] | 11.1 | 40.4
2006-08-09 |  | 7 |  |  | 14.5051 | [6 empty] | 10.6 | 10
2006-08-02 |  | 21 |  |  | 22.7885 | [6 empty] | 4.2 | 33
2006-07-26 |  | 14 |  |  | 24.1381 | [6 empty] | 8.4 | 22.2
2006-07-19 |  | 26 |  |  | 16.3562 |  |  | 30.55 | 7.72 | 8.52 | 9099 | 5.05 | 22.2
2006-07-12 |  | 12 |  |  | 13.7711 |  |  | 30.52 | 5.66 | 7.42 | 21140 | 12.58 | 14.3
2006-07-05 |  | 67 |  |  | 16.7556 | [6 empty] | 12.1 | 7.4
2006-06-28 |  | 28 |  |  | 13.9707 |  |  | 28.55 | 7.28 | 7.41 | 11990 | 6.81 | 13.3
2006-06-21 |  | 2 |  |  | xxxx | [6 empty] | 4.1 | 12.2
2006-06-14 |  | 11 |  |  | xxxx | [6 empty] | 10.1 | 11.1
2006-06-08 |  | 32 |  |  | 65.2495 | [6 empty] | 8.3 | 5.7
2006-06-01 |  | 27 |  |  | 54.5602 |  |  | 30.02 | 6.93 | 7.09 | 2297 | 1.21 | 19.8
2006-05-12 |  | 15 |  |  | 61.3472 | [6 empty] | 0.1
05/11/06 resample | > | 780 |  |  | 81.3084 | [6 empty] | nd | 184
2006-05-10 |  | 117 |  |  | construction at site/strong winds |  |  | 26.09 | 7.68 | 7.27 | 735 | 0.33 | 83.4
05/03/06 resample |  | 2 |  |  | xxxx | [6 empty] | 0.4
5/2/2006 resample |  | 110 |  |  | xxxx | [6 empty] | 0.5
2006-05-01 |  | 177 |  |  | xxxx |  |  | 21.91 | 7.61 | 5.79 | 4316 | 2.64 | 41.1
2006-04-10 |  | 4 |  |  | xxxx |  |  | 21.08 | 9.33 | 6.81 | 574 | 0.28
2006-03-28 |  | 10 |  |  | xxxx |  |  | 18.23 | 9.98 | 7.16 | 821 | 0.4 | 35.2
2006-02-06 |  | 21 |  |  | xxxx |  |  | 13.83 | 10.31 | 7.37 | 749 | 0.37 | 67.6
2006-01-10 |  | 6 |  |  | xxxx |  |  | 14.26 | 10.7 | 6.92 | 14410 | 8.39 | 8.8
Note: Geometric mean is calculated from no fewer than 5 samples collected at a
given station over not more than a 30 day period at intervals not less than 24 hrs.
ADEM coastal whole body water contact standard for fecal coliform = 100col/100ml (geo. mean).
ADPH and EPA whole body water contact guidelines for enterococci = 104 col/100ml (single sample max)
All fecal coliform analyses performed by ADEM Mobile Branch Lab using EPA standard method 9222D.
All enterococci analyses performed by ADPH Mobile Laboratory using EPA standard method 1600
* On 5/15/00 the method used for enterococci analyses was changed from EPA standard method 9230B to EPA method 1600.
nd: no data
Advisory Key
The most recent testing of water from this site revealed enterococci levels
below the EPA recommended threshold. Water quality is acceptable.
The most recent testing of water from this site revealed Enterococci levels
over the EPA recommended threshold. There may be an increased risk
of illness associated with swimming at this site. Because elevated bacteria
levels are often transient and usually fall quickly, this site is now being
retested. The status will be revised to red or green based on the results of the retest.
Repeat testing of this site has again revealed Enterococci levels over the
EPA recommended threshold. There may be an increased risk of illness
associated with swimming at this site. Because elevated bacteria levels have
persisted, a public health advisory will be issued. This site will be retested.