## orangest
ADEM/ADPH Beach Monitoring Program
Microbiological Analyses
Orange Street Pier/Beach, Fairhope, Mobile Bay
|  |  | Latitude: 30.51584º N | most recent advisory status: |  | 2024-05-16 | next sample 05/22/2024
|  |  | Longitude: 87.91740º W | see advisory key below
Date Collected |  |  | Enterococcus Count/100 ml * | Enterococcus Geo. Mean | Comments |  | Temp. (°C) | DO (mg/l) | pH (su) | Cond (µmhos/cm) | Salin. (ppt) | Turb. (ntu)
05/16/24 resample |  | < | 10 | xxxx | [6 empty] | 2.7
2024-05-15 |  |  | 201 | xxxx | [6 empty] | 4
05/09/24 resample |  |  | 20 | xxxx | [6 empty] | 1.3
2024-05-08 |  |  | 108 | xxxx | [6 empty] | 1.4
ADPH Lab Method changed from EPA Method 1600 (Membrane Filtration, cfu/100ml) to SM#9230-D (Fluorogenic Substrate Enterococcus Test, mpn/100ml)
2024-04-09 |  |  | Site closed because of construction
2024-03-12 |  |  | 20 | xxxx | [6 empty] | 2.3
02/07/24 resample |  |  | 7 | xxxx | [6 empty] | 4.91
2024-02-06 |  | > | 400 | xxxx | [6 empty] | 4.1
2024-01-10 |  |  | 27 | xxxx | [6 empty] | 16.4
2023-12-05 |  |  | 81 | xxxx | [6 empty] | 14.1
2023-11-07 |  | < | 1 | xxxx | [6 empty] | 21.1
2023-10-03 |  | < | 1 | 6.8227 | [6 empty] | 22.5
2023-09-27 |  |  | 3 | 14.9194 | [6 empty] | 21.6
2023-09-20 |  |  | 7 | 21.8447 | [6 empty] | 19
2023-09-13 |  |  | 16 | xxxx | [6 empty] | 13.9
2023-09-06 |  |  | 44 | xxxx | [6 empty] | 18.1
2023-08-30 |  |  | 50 | xxxx | [6 empty] | 18.3
2023-08-23 |  |  | 7 | xxxx | [6 empty] | 7.3
2023-08-16 |  |  | 63 | xxxx | [6 empty] | 9.4
2023-08-09 |  |  | Site closed because of construction
2023-08-02 |  |  | 3 | 2.2679 | [6 empty] | 15
2023-07-26 |  |  | 1 | 2.6867 | [6 empty] | 3
2023-07-19 |  | < | 1 | 3.0863 | [6 empty] | 2.6
2023-07-12 |  |  | 4 | 4.6779 | [6 empty] | 5.2
2023-07-06 |  |  | 5 | 3.5452 | [6 empty] | 3.6
2023-06-28 |  |  | 7 | 3.9874 | [6 empty] | 2.6
2023-06-21 |  |  | 2 | 3.3659 | [6 empty] | 2.6
2023-06-14 |  |  | 8 | 2.9302 | [6 empty] | 15.3
2023-06-07 |  | < | 1 | 3.1229 | [6 empty] | 15.3
2023-05-31 |  |  | 9 | 3.8902 | [6 empty] | 9.5
2023-05-24 |  |  | 3 | xxxx | [6 empty] | 7.1
2023-05-17 |  | < | 1 | xxxx | [6 empty] | 4.6
2023-05-10 |  |  | 11 | xxxx | [6 empty] | 2.4
2023-05-03 |  |  | 3 | xxxx | [6 empty] | 4.2
2023-04-04 |  |  | 8 | xxxx | [6 empty] | 1.3
03/14/23 resample |  |  | 74 | xxxx | [6 empty] | 0.8
2023-03-13 |  |  | 130 | xxxx | [6 empty] | 1
2023-02-13 |  |  | 18 | xxxx | [6 empty] | 0.2
2023-01-10 |  |  | 27 | xxxx | [6 empty] | 12.4
2022-12-06 |  |  | 8 | xxxx | [6 empty] | 5.8
2022-11-08 |  |  | 3 | xxxx | [6 empty] | 17.3
2022-10-04 |  | < | 1 | 5.194 | [6 empty] | 18
2022-09-28 |  |  | 4 | 6.7032 | [6 empty] | 15.9
2022-09-21 |  |  | 3 | 8.3552 | [6 empty] | 13.7
2022-09-14 |  |  | 7 | 24.03 | [6 empty] | 10.2
2022-09-07 |  |  | 45 | 33.7841 | [6 empty] | 8.8
2022-08-31 |  |  | 4 | 33.2204 | [6 empty] | 5.4
2022-08-24 |  |  | 6 | 38.8656 | [6 empty] | 11.7
08/22/22 resample |  |  | 15 | 53.0641 | [6 empty] | 9
2022-08-18 |  | > | 400 | 42.5725 | [6 empty] | 6
2022-08-17 |  |  | 102 | 27.1984 | [6 empty] | 5.6
2022-08-10 |  |  | 76 | 19.6953 | [6 empty] | 8.9
2022-08-03 |  |  | 40 | 25.9759 | [6 empty] | 6.1
2022-07-27 |  |  | 12 | 49.3484 | [6 empty] | 6.9
2022-07-20 |  |  | 4 | 38.204 | [6 empty] | 8.6
2022-07-13 |  |  | 100 | 34.6022 | [6 empty] | 9.6
07/06/22 resample |  |  | 4 | 19.7876 | [6 empty] | 9.7
07/05/22 resample |  | > | 400 | 25.8295 | [6 empty] | 10.7
06/30/22 resample |  | > | 400 | 14.9323 | [6 empty] | 13.6
2022-06-29 |  |  | 232 | 5.1751 | [6 empty] | 12.6
2022-06-22 |  | < | 2 | 7.6809 | [6 empty] | 6.9
2022-06-16 |  |  | 2 | 7.6809 | [6 empty] | 1.7
2022-06-08 |  | < | 2 | 9.2243 | [6 empty] | 5.6
2022-06-01 |  | < | 2 | 9.2243 | [6 empty] | 1.1
5/31/22 resample |  |  | 18 | 12.5232 | [6 empty] | 2.4
2022-05-25 |  |  | 713 | xxxx | [6 empty] | 4.8
2022-05-18 |  | < | 2 | xxxx | [6 empty] | 5.4
2022-05-11 |  |  | 6 | xxxx | [6 empty] | 1.3
2022-05-04 |  | < | 2 | xxxx | [6 empty] | 0.7
04/11/22 resample |  |  | 28 | xxxx | [6 empty] | 0.3
04/07/22 resample |  |  | 327 | xxxx | [6 empty] | 1.1
04/06/22 resample |  |  | 973 | xxxx | [6 empty] | 1.1
2022-04-05 |  |  | 347 | xxxx | [6 empty] | 0.6
2022-03-15 |  |  | 28 | xxxx | [6 empty] | 5.3
2022-02-08 |  |  | 12 | xxxx | [6 empty] | 9.5
2022-01-11 |  |  | 42 | xxxx | [6 empty] | 3.5
2021-12-14 |  | < | 2 | xxxx | [6 empty] | 12.7
2021-11-02 |  |  | 2 | xxxx | [6 empty] | 11.5
2021-10-12 |  |  | 2 | xxxx | [6 empty] | 7.5
09/30/21 resample |  |  | 8 | xxxx | [6 empty] | 6.4
2021-09-29 |  |  | 116 | 80.8265 | [6 empty] | 6.7
09/20/21 resample |  |  | 44 | 56.8681 | [6 empty] | 3.6
2021-09-16 |  |  | 447 | 46.4517 | [6 empty] | 7.7
2021-09-08 |  |  | 84 | 15.7451 | [6 empty] | 0.7
2021-09-02 |  |  | 18 | 9.288 | [6 empty] | 2.4
2021-08-25 |  |  | 20 | 7.4558 | [6 empty] | 5.8
2021-08-18 |  |  | 16 | 10.2456 | [6 empty] | 7.4
2021-08-11 |  |  | 2 | 11.2903 | [6 empty] | 4.8
2021-08-04 |  |  | 6 | 16.662 | [6 empty] | 3.3
2021-07-28 |  |  | 6 | 13.3752 | [6 empty] | 1
2021-07-21 |  |  | 98 | 16.274 | [6 empty] | 0.5
2021-07-14 |  |  | 26 | 10.8652 | [6 empty] | 0.5
2021-07-07 |  |  | 14 | 8.1035 | [6 empty] | 0.4
2021-06-30 |  | < | 2 | 7.5762 | [6 empty] | 0.3
2021-06-23 |  |  | 16 | 7.5762 | [6 empty] | 1.2
2021-06-16 |  |  | 13 | 5.406 | [6 empty] | 0.8
2021-06-09 |  |  | 6 | 14.5528 | [6 empty] | 2.3
2021-06-02 |  |  | 10 | 20.1234 | [6 empty] | 5.8
2021-05-26 |  |  | 2 | 22.6109 | [6 empty] | 0.5
2021-05-19 |  |  | 8 | 36.7262 | [6 empty] | 2.3
05/17/21 resample |  |  | 2 | xxxx | [6 empty] | 2.7
05/13/21 resample |  |  | 120 | xxxx | [6 empty] | 0.9
2021-05-12 |  |  | 600 | xxxx | [6 empty] | 1.7
2021-05-06 |  |  | 58 | xxxx | [6 empty] | 1.7
2021-04-13 |  |  | 34 | xxxx | [6 empty] | 0.3
2021-03-02 |  |  | 20 | xxxx | [6 empty] | 4.6
2021-02-09 |  |  | 94 | xxxx | [6 empty] | 12.3
2021-01-05 |  |  | 16 | xxxx | [6 empty] | 4.5
12/08/20 resample |  |  | 12 | xxxx | [6 empty] | 6
2020-12-07 |  |  | 134 | xxxx | [6 empty] | 8
2020-11-03 |  |  | 14 | xxxx | [6 empty] | 8.3
2020-10-20 |  |  | 2 | xxxx | [6 empty] | 12.6
2020-09-30 |  |  | 2 | xxxx | [6 empty] | 6.1
2020-09-09 |  |  | 6 | 22.7296 | [6 empty] | 13.5
2020-09-02 |  |  | 18 | 24.7495 | [6 empty] | 7.8
08/27/20 resample |  |  | 38 | 27.2403 | [6 empty] | 17
2020-08-26 |  |  | 240 | 25.4858 | [6 empty] | 16.4
2020-08-19 |  |  | 10 | 11.2374 | [6 empty] | 11.5
2020-08-12 |  |  | 14 | 10.1461 | [6 empty] | 9.9
2020-08-05 |  |  | 10 | 6.8751 | [6 empty] | 8.6
2020-07-29 |  |  | 32 | 4.9829 | [6 empty] | 9.3
2020-07-22 |  |  | 4 | 4.2236 | [6 empty] | 6.3
2020-07-15 |  |  | 6 | 4.2236 | [6 empty] | 6.1
2020-07-08 |  | < | 2 | 4.8516 | [6 empty] | 2.6
2020-07-01 |  | < | 2 | 6.0438 | [6 empty] | 4.1
2020-06-24 |  |  | 14 | 11.9326 | [6 empty] | 6.8
2020-06-17 |  |  | 4 | 14.5702 | [6 empty] | 9.2
2020-06-10 |  |  | 12 | 12.6841 | [6 empty] | 6.1
2020-06-03 |  |  | 6 | 14.5702 | [6 empty] | 6.4
2020-05-27 |  |  | 60 | xxxx | [6 empty] | 3.7
2020-05-20 |  |  | 38 | xxxx | [6 empty] | 6
2020-05-13 |  | < | 2 | xxxx | [6 empty] | 7.2
2020-05-06 |  |  | 24 | xxxx | [6 empty] | 0.4
2020-04-22 |  |  | 14 | xxxx | [6 empty] | 3.5
2020-03-02 |  |  | 8 | xxxx | [6 empty] | 0.2
2020-02-04 |  |  | 12 | xxxx | [6 empty] | 4.6
2020-01-07 |  |  | 14 | xxxx | [6 empty] | 3
2019-12-03 |  |  | 62 | xxxx | [6 empty] | 2.7
2019-11-05 |  | < | 2 | xxxx | [6 empty] | 7.9
2019-10-07 |  | < | 2 | xxxx | [6 empty] | 16.4
2019-09-25 |  |  | 18 | 15.4655 | [6 empty] | 15
2019-09-18 |  |  | 12 | 13.15 | [6 empty] | 15.9
2019-09-11 |  |  | 8 | 16 | [6 empty] | 15.2
2019-09-04 |  |  | 8 | 12.1257 | [6 empty] | 17.3
2019-08-28 |  |  | 64 | 12.1257 | [6 empty] | 12.8
2019-08-21 |  |  | 8 | 9.7939 | [6 empty] | 13.9
2019-08-14 |  |  | 32 | 10.9538 | [6 empty] | 10.4
2019-08-07 |  |  | 2 | 10.6733 | [6 empty] | 10.1
2019-07-31 |  |  | 8 | 21.5634 | [6 empty] | 8.3
2019-07-24 |  |  | 22 | 26.2931 | [6 empty] | 4.3
2019-07-17 |  |  | 14 | 45.5696 | [6 empty] | 8.7
2019-07-10 |  |  | 50 | 49.2171 | [6 empty] | 7.8
07/08/19 resample |  |  | 6 | 49.0878 | [6 empty] | 7.3
2019-07-02 |  |  | 136 | 51.4988 | [6 empty] | 7.4
2019-06-24 |  |  | 20 | 28.6121 |  |  | 29.47 | 6.31 | 7.59 | 12805 | 7.28
06/20/19 resample |  |  | 94 | 19.4932 | [6 empty] | 6.4
2019-06-19 |  |  | 380 | 14.231 | [6 empty] | 5.1
2019-06-12 |  |  | 24 | 9.3289 | [6 empty] | 2.6
2019-06-05 |  |  | 8 | 7.07 | [6 empty] | 1
2019-05-29 |  |  | 4 | 9.3289 | [6 empty] | 0.3
2019-05-22 |  | < | 2 | xxxx | [6 empty] | 0.4
2019-05-15 |  |  | 46 | xxxx | [6 empty] | 2.4
2019-05-08 |  |  | 6 | xxxx | [6 empty] | 0.2
2019-05-01 |  |  | 32 | xxxx | [6 empty] | 0.1
2019-04-02 |  |  | 14 | xxxx | [6 empty] | 2.5
2019-03-12 |  |  | 10 | xxxx | [6 empty] | 0.3
2019-02-05 |  |  | 22 | xxxx | [6 empty] | 0.5
2019-01-08 |  |  | 40 | xxxx | [6 empty] | 0.8
12/05/18 resample |  |  | 48 | xxxx | [6 empty] | 8.5
2018-12-04 |  |  | 120 | xxxx | [6 empty] | 7.3
2018-11-06 |  |  | 8 | xxxx | [6 empty] | 14.3
2018-10-02 |  |  | 2 | xxxx | [6 empty] | 13.5
2018-09-26 |  |  | 20 | xxxx | [6 empty] | 10.9
2018-09-19 |  |  | 2 | 18.7845 | [6 empty] | 9
2018-09-11 |  |  | 36 | 40.0193 | [6 empty] | 6
2018-08-29 |  |  | 6 | 41.3127 | [6 empty] | 10.3
08/23/18 resample |  |  | 10 | 35.3121 | [6 empty] | 8.5
2018-08-22 |  |  | 113 | 43.5757 | [6 empty] | 9.5
08/16/18 resample |  |  | 90 | 39.1628 | [6 empty] | 12.8
2018-08-15 |  |  | 187 | 34.0914 | [6 empty] | 10.7
2018-08-08 |  |  | 60 | 16.0021 | [6 empty] | 10.3
2018-08-01 |  |  | 30 | 17.4745 | [6 empty] | 13.1
2018-07-25 |  |  | 2 | 11.8684 | [6 empty] | 6.3
07/19/18 resample |  |  | 22 | 15.9693 | [6 empty] | 8.7
2018-07-18 |  |  | 106 | 10.7083 | [6 empty] | 9.4
2018-07-11 |  |  | 2 | 8.5776 | [6 empty] | 7.1
07/09/18 resample |  |  | 14 | 11.477 | [6 empty] | 7.6
2018-07-05 |  |  | 127 | 13.5405 | [6 empty] | 6.1
2018-06-27 |  |  | 2 | 8.1447 | [6 empty] | 3.7
2018-06-20 |  |  | 2 | 12.0197 | [6 empty] | 4.7
2018-06-13 |  |  | 28 | 12.0197 | [6 empty] | 4
2018-06-06 |  |  | 32 | 7.0903 | [6 empty] | 2.6
2018-05-30 |  |  | 10 | 6.5784 | [6 empty] | 8.1
2018-05-23 |  |  | 14 | 8.0826 | [6 empty] | 5.7
2018-05-14 |  | < | 2 | 9.6521 | [6 empty] | 3.6
2018-05-09 |  |  | 2 | xxxx | [6 empty] | 2
2018-05-02 |  |  | 22 | xxxx | [6 empty] | 2.2
2018-04-25 |  |  | 28 | xxxx | [6 empty] | 1.4
2018-04-18 |  |  | 34 | xxxx | [6 empty] | 2.2
2018-03-05 |  |  | 2 | xxxx | [6 empty] | 2.5
2018-02-06 |  |  | 2 | xxxx | [6 empty] | 15.5
2018-01-10 |  |  | 16 | xxxx | [6 empty] | 18.4
2017-12-05 |  |  | 6 | xxxx | [6 empty] | 22.4
2017-11-07 |  |  | 2 | xxxx | [6 empty] | 9.1
2017-10-03 |  |  | 8 | 3.7764 | [6 empty] | 17.6
2017-09-27 |  |  | 2 | xxxx | [6 empty] | 10
2017-09-20 |  |  | 2 | xxxx | [6 empty] | 8.2
2017-09-13 |  |  | 4 | xxxx | [6 empty] | 9.1
2017-09-06 |  |  | 6 | xxxx | [6 empty] | 10.5
2017-08-23 |  |  | 6 | 7.0074 |  |  | 29.85 | 7.32 | 7.88 | 11070 | 7.32
2017-08-17 |  |  | 4 | 8.7293 | [6 empty] | 4.2
2017-08-09 |  |  | 8 | 7.5993 | [6 empty] | 9.8
2017-08-02 |  |  | 4 | 7.1744 | [6 empty] | 8.6
2017-07-26 |  |  | 22 | 8.6174 | [6 empty] | 1.3
2017-07-19 |  |  | 18 | 6.1278 | [6 empty] | 0.9
2017-07-12 |  |  | 2 | 3.9487 | [6 empty] | 0.3
2017-07-06 |  |  | 6 | 9.8286 | [6 empty] | 0.3
2017-06-28 |  |  | 10 | 16.6889 | [6 empty] | 3.5
2017-06-19 |  |  | 4 | 33.1862 | [6 empty] | 1.1
2017-06-14 |  | < | 2 | 30.4319 | [6 empty] | 1.5
06/12/17 resample |  |  | 6 | 44.8981 | [6 empty] | 2.2
06/08/17 resample |  |  | 313 | 38.3767 | [6 empty] | 0.4
2017-06-07 |  | > | 400 | 27.0493 | [6 empty] | 0.3
2017-05-31 |  |  | 6 | 19.4914 | [6 empty] | 0.5
05/25/17 resample |  |  | 68 | 24.6707 | [6 empty] | 3.6
2017-05-24 |  |  | 600 | 17.9848 | [6 empty] | 4.9
2017-05-17 |  |  | 2 | 11.271 | [6 empty] | 3.1
2017-05-10 |  |  | 2 | xxxx | [6 empty] | 1.3
2017-05-03 |  |  | 56 | xxxx | [6 empty] | 3.3
2017-04-26 |  |  | 14 | xxxx | [6 empty] | 4.3
2017-04-19 |  |  | 58 | xxxx | [6 empty] | 0.7
2017-03-14 |  |  | 54 | xxxx | [6 empty] | 10.8
2017-02-07 |  |  | 14 | xxxx | [6 empty] | 5.8
2017-01-10 |  |  | 24 | xxxx | [6 empty] | 10.7
12/07/16 resample |  |  | 98 | xxxx | [6 empty] | 20.8
2016-12-06 |  |  | 593 | xxxx | [6 empty] | 21.7
2016-11-08 |  | < | 2 | xxxx | [6 empty] | 23.1
2016-10-04 |  |  | 4 | 4.7043 | [6 empty] | 19.3
2016-09-28 |  |  | 4 | 5.6505 | [6 empty] | 19.1
2016-09-21 |  |  | 4 | 6.7869 | [6 empty] | 16.3
2016-09-14 |  |  | 2 | 5.9084 | [6 empty] | 17.8
2016-09-07 |  |  | 18 | 9.1689 | [6 empty] | 17.9
2016-08-31 |  |  | 10 | 6.7869 | [6 empty] | 18.3
2016-08-24 |  |  | 10 | 8.4547 | [6 empty] | 9.7
2016-08-17 |  | < | 2 | 6.1278 | [6 empty] | 12.4
2016-08-08 |  |  | 18 | 6.1278 | [6 empty] | 13.4
2016-08-03 |  |  | 4 | 4.5359 | [6 empty] | 13.2
2016-07-27 |  |  | 30 | 4.919 | [6 empty] | 17.7
2016-07-20 |  |  | 2 | 2.8619 | [6 empty] | 12.4
2016-07-13 |  |  | 2 | 3.2875 | [6 empty] | 11.6
2016-07-06 |  |  | 4 | 4.8516 | [6 empty] | 10.9
2016-06-28 |  |  | 6 | 4.8516 |  |  | 29.55 | 5.56 | 7.62 | 12880 | 8.2
2016-06-22 |  | < | 2 | 4.8516 | [6 empty] | 6.8
2016-06-15 |  |  | 4 | 4.8516 | [6 empty] | 7.8
2016-06-08 |  |  | 14 | 5.573 | [6 empty] | 7.4
2016-06-01 |  |  | 4 | 11.5678 | [6 empty] | 6.3
2016-05-25 |  |  | 6 | 15.1268 | [6 empty] | 6.8
2016-05-19 |  | < | 2 | 18.1998 | [6 empty] | 8.14
2016-05-11 |  |  | 8 | 29.916 | [6 empty] | 5.2
05/05/16 resample |  |  | 52 | xxxx | [6 empty] | 0.6
2016-05-04 |  |  | 120 | xxxx | [6 empty] | 0.6
2016-04-27 |  |  | 20 | xxxx | [6 empty] | 0.85
2016-04-20 |  |  | 24 | xxxx | [6 empty] | 0.5
2016-03-01 |  |  | 2 | xxxx |  |  | 17.2 | 8.4 | 7.04 | 1667 | 0.85
2016-02-01 |  |  | 18 | xxxx | [6 empty] | 3.4
2016-01-04 |  |  | 70 | xxxx | [6 empty] | 1.3
2015-12-01 |  |  | 6 | xxxx | [6 empty] | 5.5
2015-11-02 |  |  | 10 | xxxx | [6 empty] | 17
2015-10-06 |  | < | 2 | xxxx | [6 empty] | 17.9
2015-09-21 |  |  | 4 | 3.7764 | [6 empty] | 18.5
2015-09-14 |  |  | 6 | 4.9829 | [6 empty] | 13.8
2015-09-08 |  |  | 2 | 4.5948 | [6 empty] | 16.5
2015-08-31 |  |  | 8 | 6.0629 | [6 empty] | 16.4
2015-08-24 |  |  | 2 | 4.5948 | [6 empty] | 16.2
2015-08-17 |  |  | 16 | 5.7239 | [6 empty] | 22.1
2015-08-10 |  |  | 4 | 3.7764 | [6 empty] | 17
2015-08-03 |  |  | 8 | 6.8751 | [6 empty] | 16.8
2015-07-27 |  | < | 2 | 8.5645 | [6 empty] | 8.6
2015-07-20 |  |  | 6 | 8.5645 | [6 empty] | 5.5
2015-07-13 |  | < | 2 | 10.3494 | [6 empty] | 2
2015-07-06 |  |  | 80 | 13.5335 | [6 empty] | 6.5
2015-06-29 |  |  | 24 | 10.5545 | [6 empty] | 6.2
2015-06-22 |  | < | 2 | 10.9545 | [6 empty] | 4.3
2015-06-15 |  |  | 16 | 10.9545 | [6 empty] | 5.7
2015-06-09 |  |  | 10 | 7.746 | [6 empty] | 7.5
2015-06-08 |  |  | 10 | 7.3602 | [6 empty] | 9.6
2015-06-02 |  |  | 18 | 9.1689 | [6 empty] | 2.3
2015-05-26 |  |  | 30 | 11.8167 | [6 empty] | 5.1
2015-05-18 |  |  | 2 | 13.0878 |  |  | 27.68 | 6.32 | 7.43 | 4265 | 2.25
2015-05-11 |  |  | 2 | xxxx | [6 empty] | 1.6
2015-05-04 |  |  | 30 | xxxx | [6 empty] | 1.9
2015-04-28 |  |  | 64 | xxxx | [6 empty] | 0.4
2015-04-20 |  |  | 50 | xxxx |  |  | 22.89 | 7.75 | 7.5 | 9683 | 1.94
2015-03-02 |  |  | 64 | xxxx | [6 empty] | 1.8
2015-02-09 |  |  | 4 | xxxx | [6 empty] | 11
2015-01-05 |  |  | 88 | xxxx | [6 empty] | 6.58
2014-12-08 |  |  | 4 | xxxx | [6 empty] | 17
2014-11-03 |  | < | 2 | xxxx | [6 empty] | 15.3
2014-10-06 |  |  | 12 | xxxx | [6 empty] | 17
2014-09-22 |  |  | 2 | 3.6411 | [6 empty] | 17.4
2014-09-15 |  |  | 4 | 4.8045 | [6 empty] | 17.1
2014-09-08 |  | < | 2 | 5.7708 | [6 empty] | 15.7
2014-09-02 |  |  | 10 | 5.7708 | [6 empty] | 15.7
2014-08-25 |  |  | 4 | 4.8045 | [6 empty] | 16.7
2014-08-18 |  |  | 8 | 5.9851 |  |  | 29.2 | 5.06 | 7.3 | 29273 | 18
2014-08-11 |  |  | 10 | 4.5359 | [6 empty] | 14.4
2014-08-04 |  |  | 2 | 3.7764 | [6 empty] | 15.7
2014-07-28 |  |  | 4 | 5.573 | [6 empty] | 9.5
2014-07-21 |  |  | 12 | 7.8373 | [6 empty] | 10.8
2014-07-14 |  |  | 2 | 5.4769 |  |  | 28.74 | 6.12 | 7.66 | 17049 | 9.98
2014-07-07 |  |  | 4 | 7.7509 | [6 empty] | 7.3
2014-06-30 |  |  | 14 | 13.425 | [6 empty] | 2.7
2014-06-23 |  |  | 22 | 14.2473 | [6 empty] | 2.1
2014-06-16 |  | < | 2 | 13.5108 | [6 empty] | 0.7
2014-06-09 |  |  | 22 | 20.1487 | [6 empty] | 2.5
06/04/14 resample |  |  | 4 | 19.7975 | [6 empty] | 1.7
2014-06-03 |  |  | 108 | 26.7457 | [6 empty] | 1.3
2014-05-27 |  |  | 20 | xxxx | [6 empty] | 0.7
2014-05-19 |  |  | 16 | xxxx | [6 empty] | 0.3
2014-05-12 |  |  | 22 | xxxx | [6 empty] | 0.2
2014-05-05 |  |  | 18 | xxxx | [6 empty] | 0.3
2014-04-21 |  |  | 6 | xxxx | [6 empty] | 0.2
2014-03-10 |  | < | 2 | xxxx | [6 empty] | 6.2
2014-02-03 |  |  | 78 | xxxx | [6 empty] | 13
2014-01-13 |  |  | 4 | xxxx | [6 empty] | 4.6
2013-12-02 |  |  | 4 | xxxx | [6 empty] | 13.6
2013-11-04 |  |  | 4 | xxxx | [6 empty] | 14.9
2013-10-15 |  | < | 2 | xxxx | [6 empty] | 17.6
2013-09-23 |  |  | 2 | 6.8168 | [6 empty] | 12.9
2013-09-16 |  | < | 2 | 13.7178 | [6 empty] | 12.2
2013-09-09 |  |  | 92 | 13.7178 | [6 empty] | 8.5
2013-09-03 |  |  | 4 | 7.9462 | [6 empty] | 7.4
2013-08-26 |  |  | 10 | 12.7173 | [6 empty] | 8
2013-08-19 |  |  | 66 | 13.505 | [6 empty] | 8.7
2013-08-12 |  | < | 2 | 8.4257 | [6 empty] | 4.6
2013-08-05 |  |  | 6 | 18.0369 | [6 empty] | 3
2013-07-29 |  |  | 42 | 24.9592 |  |  | 30.23 | 5.44 | 7.43 | 3883 | 2.03
2013-07-15 |  |  | 10 | 19.2758 | [6 empty] | 6.8
2013-07-08 |  |  | 42 | 22.7126 | [6 empty] | 8.1
2013-07-01 |  |  | 22 | 15.8655 | [6 empty] | 3.2
2013-06-24 |  |  | 36 | 14.1703 | [6 empty] | 5
2013-06-17 |  |  | 8 | 9.7292 | [6 empty] | 2.9
2013-06-04 |  |  | 10 | 13.035 | [6 empty] | 1.4
2013-05-28 |  |  | 14 | 13.9424 | [6 empty] | 1.6
2013-05-20 |  |  | 8 | 18.7754 | [6 empty] | 0.4
2013-05-13 |  |  | 4 | xxxx |  |  | 21.03 | 8.87 | 7.81 | 1215 | 0.61
2013-05-06 |  |  | 84 | xxxx | [6 empty] | 0.8
2013-04-29 |  |  | 14 | xxxx | [6 empty] | 0.8
2013-04-23 |  |  | 62 | xxxx |  |  | 20.49 | 8.09 | 7.48 | 2695 | 1.4
2013-03-05 |  |  | 14 | xxxx | [6 empty] | 0.3
2013-02-05 |  |  | 12 | xxxx | [6 empty] | 12
2013-01-08 |  |  | 10 | xxxx | [6 empty] | 10.4
2012-12-04 |  | < | 2 | xxxx | [6 empty] | 21.1
2012-11-06 |  |  | 44 | xxxx | [6 empty] | 17.3
10/03/12 resample |  |  | 8 | 11.722 | [6 empty] | 13.5
2012-10-02 |  |  | 247 | 16.3318 | [6 empty] | 13.9
2012-09-24 |  | < | 2 | 16.4731 | [6 empty] | 11.9
2012-09-17 |  |  | 14 | 20.7548 | [6 empty] | 13.3
2012-09-10 |  |  | 4 | 16.8438 | [6 empty] | 6.4
2012-09-04 |  |  | 42 | 19.6229 | [6 empty] | 14.8
08/31/12 resample |  |  | 36 | 16.8526 | [6 empty] | 16.2
2012-08-30 |  |  | 118 | 13.9398 | [6 empty] | 17.6
2012-08-20 |  |  | 8 | 5.7708 | [6 empty] | 7.9
2012-08-13 |  |  | 4 | 5.4481 | [6 empty] | 12.2
2012-08-06 |  |  | 10 | 4.7429 | [6 empty] | 7.7
2012-07-30 |  |  | 10 | 3.4375 | [6 empty] | 10
2012-07-23 |  |  | 2 | 3.5652 | [6 empty] | 11.7
2012-07-16 |  |  | 6 | 4.0953 | [6 empty] | 15.2
2012-07-09 |  | < | 2 | 10.9658 | [6 empty] | 13.3
2012-07-02 |  | < | 2 | 17.9099 |  |  | 30.13 | 5.2 | 7.02 | 14493 | 14.78
2012-06-25 |  |  | 12 | 17.9099 | [6 empty] | 12.6
2012-06-18 |  |  | 4 | 16.9019 | [6 empty] | 12.6
06/13/12 resample |  |  | 2 | 21.4906 | [6 empty] | 6.4
06/12/12 resample |  |  | 407 | 21.4906 | [6 empty] | 12
2012-06-11 |  |  | 122 | 11.9338 | [6 empty] | 12.4
2012-06-05 |  |  | 62 | 8.4721 | [6 empty] | 13.3
2012-05-29 |  |  | 2 | 6.7565 |  |  | 30.2 | 6.04 | 7.46 | 21061 | 12.53
2012-05-22 |  |  | 8 | 7.7612 | [6 empty] | 12.5
2012-05-14 |  |  | 2 | xxxx | [6 empty] | 11
2012-05-07 |  |  | 22 | xxxx | [6 empty] | 7.4
2012-04-30 |  |  | 20 | xxxx |  |  | 24.98 | 8.87 | 7.19 | 15057 | 8.75
2012-04-24 |  |  | 4 | xxxx |  |  | 18.45 | 10.66 | 6.99 | 2738 | 1.42
2012-03-06 |  |  | 2 | xxxx | [6 empty] | 1.7
2012-02-08 |  |  | 6 | xxxx | [6 empty] | 5.7
2012-01-10 |  | < | 2 | xxxx | [6 empty] | 10
2011-12-05 |  |  | 6 | xxxx | [6 empty] | 20.5
2011-11-16 |  |  | 6 | xxxx |  |  | 19.53 | 6.95 | 7.78 | 35193 | 22.21 | 4.2
2011-10-18 |  | < | 2 | xxxx | [6 empty] | 19.6
2011-09-28 |  | < | 2 | 2.639 | [6 empty] | 13.7
2011-09-19 |  |  | 4 | 4.1826 | [6 empty] | 11.7
2011-09-12 |  |  | 2 | 4.1826 | [6 empty] | 5.9
2011-09-07 |  |  | 4 | 5.7708 | [6 empty] | 16.6
2011-08-29 |  | < | 2 | 6.2583 | [6 empty] | 16.3
2011-08-22 |  |  | 20 | 9.2358 | [6 empty] | 15.7
2011-08-15 |  |  | 4 | 12.6915 |  |  | 30.14 | 5.76 | 7.7 | 19120 | 11.28 | 8.14
2011-08-08 |  |  | 10 | 13.7636 | [6 empty] | 14.1
2011-08-01 |  |  | 6 | 14.5051 | [6 empty] | 8.5
2011-07-25 |  |  | 14 | 11.6438 | [6 empty] | 7.5
2011-07-18 |  |  | 98 | 10.1365 | [6 empty] | 11.1
2011-07-11 |  |  | 6 | 6.4216 | [6 empty] | 11.3
2011-07-05 |  |  | 13 | 20.915 |  |  | 30.83 | 7.28 | 7.68 | 16518 | 9.61 | 5.6
2011-06-27 |  |  | 2 | 16.0077 | [6 empty] | 9.7
2011-06-20 |  |  | 7 | 16.0077 | [6 empty] | 13.1
2011-06-13 |  |  | 10 | 18.8527 |  |  | 28.77 | 7.35 | 7.37 | 16123 | 9.39
06/09/11 resample |  |  | 36 | 20.9542 | [6 empty] | 7.5
06/08/11 resample |  |  | 167 | 16.308 | [6 empty] | 5.6
2011-06-07 |  |  | 160 | 10.2409 | [6 empty] | 5.9
2011-05-31 |  |  | 2 | 7.2268 |  |  | 28.57 | 6.22 | 7.35 | 11017 | 6.22
2011-05-23 |  |  | 2 | 12.7361 | [6 empty] | 7.4
2011-05-16 |  |  | 22 | 15.8657 |  |  | 22.12 | 8.57 | 7.81 | 609 | 0.29 | 31.6
2011-05-09 |  |  | 8 | xxxx |  |  | 25.38 | 8.45 | 7.54 | 882 | 0.43 | 21
2011-05-02 |  |  | 28 | xxxx | [6 empty] | 0.2
2011-04-26 |  |  | 34 | xxxx |  |  | 25.03 | 7.19 | 7.46 | 589 | 0.28
2011-04-18 |  |  | 6 | xxxx |  |  | 20.95 | 8.7 | 7.58 | 859 | 0.42 | 21
03/02/11 resample |  |  | 2 | xxxx | [6 empty] | 8.8
2011-03-01 |  |  | 540 | xxxx | [6 empty] | 8.9
2011-02-07 |  |  | 4 | xxxx | [6 empty] | 8.2
2011-01-18 |  |  | 2 | xxxx | [6 empty] | 15
2010-12-06 |  |  | 32 | xxxx | [6 empty] | 6.1
11/05/10 resample |  |  | 86 | xxxx | [6 empty] | 14.4
11/04/10 resample |  |  | 360 | xxxx | [6 empty] | 17.7
2010-11-03 |  | > | 400 | xxxx | [6 empty] | 18.4
2010-10-19 |  | < | 2 | xxxx | [6 empty] | 17.3
2010-09-27 |  |  | 64 | 7.1304 | [6 empty] | 14.7
2010-09-20 |  |  | 6 | 3.5652 |  |  | 29.78 | 7 | 7.39 | 24066 | 14.51 | 7.9
2010-09-13 |  |  | 2 | 5.7937 | [6 empty] | 13.3
2010-09-07 |  | < | 2 | 7.9937 |  |  | 29.33 | 6.44 | 7.44 | 25436 | 15.42 | 6.8
2010-08-30 |  |  | 12 | 7.9937 | [6 empty] | 14.3
2010-08-23 |  |  | 2 | 5.5862 | [6 empty] | 9.46 | 8.3
2010-08-16 |  |  | 68 | 5.5862 | [6 empty] | 10.3
2010-08-09 |  |  | 10 | 3.9002 | [6 empty] | 11.5
2010-08-02 |  |  | 2 | 5.5934 | [6 empty] | 7.2
2010-07-26 |  | < | 2 | 15.2237 | [6 empty] | 10.3
2010-07-19 |  |  | 2 | 21.5296 | [6 empty] | 7.9
2010-07-12 |  |  | 2 | 21.5296 | [6 empty] | 7.6
2010-07-06 |  |  | 22 | 21.5296 | [6 empty] | 11.6
06/29/10 resample |  |  | 87 | 21.4367 | [6 empty] | 7
2010-06-28 |  |  | 813 | 17.6586 | [6 empty] | 7.3
2010-06-21 |  |  | 16 | 7.0074 | [6 empty] | 3.3
2010-06-14 |  |  | 2 | 10.8371 | [6 empty] | 0.8
2010-06-08 |  |  | 2 | 10.8371 |  |  | 28.78 | 4.42 | 7.09 | 3290 | 1.73 | 10
2010-06-01 |  |  | 33 | 36.018 |  |  | 27 | 7.85 | 7.18 | 8671 | 4.82 | 8.4
2010-05-24 |  |  | 8 | 30.3701 | [6 empty] | 0.5
05/18/10 resample |  | < | 2 | 37.9319 | [6 empty] | 0.3
2010-05-17 |  |  | 767 | 68.3282 | [6 empty] | 0.4
2010-05-10 |  |  | 2 | xxxx | [6 empty] | 2.7
05/04/10 resample |  |  | 73 | xxxx | [6 empty] | 3.8
2010-05-03 |  |  | 1330 | xxxx | [6 empty] | 4.3
2010-04-27 |  |  | 10 | xxxx | [6 empty] | 3.4
03/04/10 resample |  |  | 102 | xxxx | [6 empty] | 0.3
2010-03-03 |  |  | 933 | xxxx | [6 empty] | 1.7
2010-02-02 |  |  | 90 | xxxx | [6 empty] | 0.5
2010-01-04 |  |  | 18 | xxxx | [6 empty] | 0.3
2009-12-01 |  |  | 88 | xxxx | [6 empty] | 3.7
2009-11-02 |  |  | 12 | xxxx | [6 empty] | 3.1
10/06/09 resample |  |  | 56 | 25.27 | [6 empty] | 2.7
2009-10-05 |  | > | 400 | 22.1314 | [6 empty] | 2.6
2009-09-28 |  |  | 2 | 12.6577 | [6 empty] | 2
2009-09-21 |  |  | 6 | 12.6577 | [6 empty] | 5.8
2009-09-15 |  |  | 24 | 28.946 | [6 empty] | 18.2
2009-09-14 |  |  | 102 | 29.8643 | rain | [5 empty] | 18.7
2009-09-08 |  |  | 10 | 19.5389 | [6 empty] | 19.1
2009-08-31 |  |  | 14 | 14.9419 | [6 empty] | 16
2009-08-24 |  | < | 2 | 15.857 | [6 empty] | 11.2
08/18/09 resample |  |  | 46 | 15.857 | [6 empty] | 16.5
2009-08-17 |  |  | 540 | 12.8149 | [6 empty] | 16.4
2009-08-10 |  |  | 8 | 6.4907 | [6 empty] | 10.7
2009-08-03 |  | < | 2 | 9.2092 | [6 empty] | 8
2009-07-27 |  |  | 20 | 16.0342 | [6 empty] | 13.2
2009-07-20 |  |  | 2 | 16.0342 | [6 empty] | 10.2
2009-07-13 |  |  | 18 | 29.4776 | [6 empty] | 9.5
2009-07-06 |  |  | 46 | 25.0643 | [6 empty] | 11.2
2009-06-29 |  |  | 32 | 22.3614 | [6 empty] | 5.6
2009-06-22 |  |  | 20 | 23.6112 |  |  | 30.38 | 7.55 | 7.45 | 2886 | 1.49 | 17.9
2009-06-15 |  |  | 42 | 21.9856 | [6 empty] | 3.3
2009-06-08 |  |  | 8 | 13.7373 | [6 empty] | 1.5 | 9.2
2009-06-02 |  |  | 26 | 21.9856 | [6 empty] | 1.1
2009-05-26 |  |  | 42 | 21.6364 | [6 empty] | 1.3
2009-05-18 |  |  | 14 | 17.696 | [6 empty] | 0.5
2009-05-11 |  |  | 4 | 18.5449 |  |  | 27.39 | 7.04 | 7.5 | 3227 | 1.68 | 16.2
2009-05-04 |  |  | 84 | xxxx | rain | [5 empty] | 0.3
2009-04-28 |  |  | 24 | xxxx |  |  | 23.33 | 8.19 | 7.55 | 1272 | 0.63 | 15.2
04/22/09 resample |  | < | 2 | xxxx | [6 empty] | 2.2
2009-04-20 |  |  | 136 | xxxx | [6 empty] | 2
03/03/09 resample |  |  | 2 | xxxx | [6 empty] | 4.9
2009-03-02 |  |  | 124 | xxxx | [6 empty] | 4.6
2009-02-02 |  |  | 2 | xxxx | [6 empty] | 8.6
2009-01-05 |  |  | 2 | xxxx | [6 empty] | 4.9
2008-12-01 |  |  | 26 | xxxx | [6 empty] | 15.2
2008-11-03 |  |  | 2 | xxxx | [6 empty] | 20.4
2008-10-06 |  |  | 6 | xxxx | [6 empty] | 17.5
2008-09-22 |  |  | 4 | 13.8842 | [6 empty] | 15.8
2008-09-15 |  |  | 4 | 12.3694 |  |  | 28.04 | 8.84 | 6.43 | 18798 | 11.1 | 7.2
2008-09-08 |  |  | 2 | 24.1819 | [6 empty] | 11.9
09/03/08 resample |  |  | 7 | 24.1819 | [6 empty] | 8.9
2008-09-02 |  |  | 533 | 29.7319 | [6 empty] | 14.1
2008-08-26 |  |  | 60 | 16.9036 | [6 empty] | 15.9
2008-08-18 |  |  | 2 | 9.5894 |  |  | 28.04 | 7.13 | 6.96 | 25578 | 15.53 | 7.9
08/12/08 resample |  |  | 18 | 17.8824 | rain | [5 empty] | 14.1
2008-08-11 |  |  | 300 | 17.8628 | rain | [5 empty] | 14.1
2008-08-04 |  |  | 2 | 7.7494 | [6 empty] | 15.3 | 7.2
2008-07-28 |  |  | 18 | 15.2335 | [6 empty] | 13.2
2008-07-21 |  | < | 2 | 14.9793 |  |  | 31.27 | 8.25 | 7.76 | 22242 | 13.28
07/15/08 resample |  |  | 16 | 16.5385 | [6 empty] | 10
2008-07-14 |  |  | 94 | 16.63 | [6 empty] | 10.3
2008-07-07 |  | < | 2 | 8.7541 |  |  | 29.24 | 4.53 | 6.81 | 18115 | 10.65 | 7.1
07/01/08 resample |  |  | 6 | 11.761 | [6 empty] | 9.1
2008-06-30 |  |  | 293 | 16.8297 | [6 empty] | 11.1
2008-06-23 |  |  | 16 | 7.1304 | [6 empty] | 9.2
2008-06-16 |  |  | 4 | 7.5993 | [6 empty] | 4.1
2008-06-09 |  | < | 2 | 9.1277 | [6 empty] | 2.6
2008-06-03 |  |  | 36 | 22.6694 | [6 empty] | 1.2
2008-05-27 |  |  | 4 | 17.6429 | [6 empty] | 1.1
2008-05-19 |  |  | 22 | 15.7181 | [6 empty] | 3.1
2008-05-12 |  |  | 10 | 14.6958 | [6 empty] | 5.3 | 29.1
05/06/08 resample |  |  | 34 | xxxx | [6 empty] | 4.1
2008-05-05 |  |  | 126 | xxxx | [6 empty] | 5.1
2008-04-29 |  |  | 8 | xxxx |  |  | 20.64 | 8.65 | 6.3 | 5660 | 3.07 | 28.1
2008-04-21 |  | < | 2 | xxxx | [6 empty] | 2.7 | 7.3
2008-03-03 |  |  | 4 | xxxx | [6 empty] | 5.8 | 13
2008-02-11 |  |  | 12 | xxxx | [6 empty] | 7.7 | 9.8
2008-01-07 |  |  | 1 | xxxx | [6 empty] | 21.2 | 3.6
2007-12-03 |  |  | 33 | xxxx | [6 empty] | 19.2 | 62
2007-11-05 |  | < | 1 | xxxx | [6 empty] | 17.4 | 6.1
2007-10-16 |  |  | 3 | xxxx | [6 empty] | 21.9
2007-09-24 |  |  | 42 | 3.9874 | [6 empty] | 20.6
2007-09-17 |  | < | 1 | 3.1037 | [6 empty] | 16 | 17.7
2007-09-10 |  |  | 12 | 7.0853 | [6 empty] | 19.6 | 10
2007-09-04 |  |  | 2 | 7.8474 | [6 empty] | 19.7 | 11
2007-08-27 |  |  | 1 | 7.8474 | [6 empty] | 18 | 10.9
2007-08-20 |  |  | 12 | 9.0143 | [6 empty] | 16.4
2007-08-13 |  |  | 62 | 8.6915 | [6 empty] | 15.3
2007-08-06 |  |  | 20 | 6.7098 | [6 empty] | 16.9 | 41.1
2007-07-30 |  |  | 2 | 4.5912 | [6 empty] | 14.5 | 13.1
2007-07-23 |  |  | 2 | 6.2025 | [6 empty] | 15.8 | 7.4
2007-07-16 |  |  | 10 | 23.6436 | [6 empty] | 12.1
2007-07-09 |  |  | 17 | 20.3401 | rain past 24 hrs. | [5 empty] | 12.8
2007-07-02 |  |  | 3 | 14.274 | [6 empty] | 15.1 | 16
2007-06-25 |  |  | 9 | 14.7967 | [6 empty] | 15.9 | 5.5
06/21/007 resample |  |  | 2 | 14.7967 | [6 empty] | 11.7
6/20/2007 resample |  |  | 270 | 22.4392 | rain past 24 hrs. | [5 empty] | 13.5 | 40.8
06/19/07 resample |  |  | 197 | 12.7298 | rain | [5 empty] | 14.6
2007-06-18 |  | > | 200 | 7.3602 | [6 empty] | 14.8 | 11
2007-06-11 |  |  | 3 | 3.7645 | [6 empty] | 14.3
2007-06-05 |  |  | 1 | 3.9874 | [6 empty] | 17.4
2007-05-29 |  |  | 4 | 3.9874 | rain | [5 empty] | 16.1 | 6.7
2007-05-21 |  |  | 9 | xxxx | [6 empty] | 14.3
2007-05-14 |  |  | 7 | xxxx | [6 empty] | 14.6 | 6
2007-05-07 |  |  | 4 | xxxx | [6 empty] | 10.2
2007-04-30 |  |  | 1 | xxxx | [6 empty] | 11.1 | 8
2007-04-09 |  |  | 1 | xxxx | [6 empty] | 10 | 11
2007-03-12 |  |  | 6 | xxxx | [6 empty] | 6.8 | 38
2007-02-12 |  |  | 1 | xxxx | [6 empty] | 14.1 | 12.3
01/09/07 resample |  |  | 36 | xxxx | [6 empty] | 2.5
2007-01-08 |  |  | 110 | xxxx | rain past 24 hrs. | [5 empty] | 2.1 | 76.7
2006-12-11 |  |  | 23 | xxxx |  |  | 11.8 | 11.04 | 7.94 | 28361 | 16.1 | 7.4
2006-11-06 |  |  | 5 | xxxx | rain | [5 empty] | 15.8 | 5.9
2006-10-18 |  |  | 17 | xxxx | [6 empty] | 19.3 | 7.2
2006-09-25 |  |  | 71 | 9.952 | [6 empty] | 15.5 | 49.4
2006-09-18 |  |  | 25 | 7.0868 | rain | [5 empty] | 18.6 | 9.2
2006-09-11 |  |  | 11 | 5.1364 | [6 empty] | 19.3 | 11.4
2006-09-05 |  |  | 1 | 3.961 | [6 empty] | 15.5 | 6.6
2006-08-28 |  |  | 5 | 6.5108 | [6 empty] | 15.8 | 12
2006-08-21 |  |  | 13 | 5.4206 | [6 empty] | 12.9 | 17.9
2006-08-14 |  |  | 5 | 4.7894 | [6 empty] | 14.1 | 11.3
2006-08-07 |  |  | 3 | 3.4713 | [6 empty] | 13.5 | 7.2
2006-07-31 |  |  | 12 | 2.7865 | [6 empty] | 12.3 | 6
2006-07-24 |  |  | 2 | 1.6952 | rain | [5 empty] | 13.5 | 12.3
2006-07-17 |  |  | 7 | 1.6952 |  |  | 29.35 | 6.3 | 6.47 | 23310 | 14.02 | 10.7
2006-07-10 |  |  | 1 | 1.1487 |  |  | 28.3 | 5.46 | 7.17 | nd | 14.1 | 6.5
2006-07-05 |  | < | 1 | 1.1487 | [6 empty] | 15 | 9.2
2006-06-26 |  | < | 1 | 1.1487 | [6 empty] | 12.1
2006-06-19 |  |  | 2 | 2.3777 | [6 empty] | 12.7 | 9.3
2006-06-12 |  | < | 1 | 5.4963 | [6 empty] | 12.7
2006-06-06 |  | < | 1 | 26.0004 |  |  | 26.11 | 5.73 | 7.05 | 14920 | 8.65 | 14.2
2006-05-30 |  | < | 1 | 32.7214 |  |  | 27.55 | 5.66 | 6.9 | 4776 | 2.52 | 15.9
5/16/06 resample |  |  | 38 | 58.52 | [6 empty] | 0.8
2006-05-15 |  |  | 132 | 63.7982 | [6 empty] | 1.3 | 35
2006-05-10 |  |  | 51 | 29.9308 |  |  | 26.19 | 8.64 | 7.21 | 3642 | 1.91 | 13.4
05/09/06 resample |  |  | 157 | xxxx | [6 empty] | 2.7 | 19.9
2006-05-08 |  | > | 200 | xxxx |  |  | 24.74 | 7.74 | 6.46 | 5220 | 2.81 | 18.9
2006-05-01 |  |  | 5 | xxxx |  |  | 22.39 | 9.14 | 6.99 | 12320 | 7.07 | 18.2
2006-04-10 |  |  | 3 | xxxx |  |  | 21.14 | 9.16 | 7.09 | 3070 | 1.51
2006-03-27 |  | < | 1 | xxxx |  |  | 15.71 | 11.44 | 6.04 | 8767 | 4.92 | 22.3
2006-02-06 |  |  | 11 | xxxx |  |  | 13.23 | 10.94 | 7.17 | 1071 | 0.53 | 59.6
2006-01-09 |  |  | 1 | xxxx |  |  | 13.64 | 9.43 | 6.28 | 14750 | 8.62 | 5.1
Note: Geometric mean is calculated from no fewer than 5 samples collected at a
given station over not more than a 30 day period at intervals not less than 24 hrs.
ADEM coastal whole body water contact standard for fecal coliform = 100col/100ml (geo. mean).
ADPH and EPA whole body water contact guidelines for enterococci = 104 col/100ml (single sample max)
All fecal coliform analyses performed by ADEM Mobile Branch Lab using EPA standard method 9222D.
All enterococci analyses performed by ADPH Mobile Laboratory using EPA standard method 1600
nd: no data
Advisory Key
The most recent testing of water from this site revealed enterococci levels
within the recommended EPA standards. Water quality is acceptable.
The most recent testing of water from this site revealed Enterococci levels
over the EPA recommended threshold. There may be an increased risk
of illness associated with swimming at this site. Because elevated bacteria
levels are often transient and usually fall quickly, this site is now being
retested. The status will be revised to red or green based on the results of the retest.
Repeat testing of this site has again revealed Enterococci levels over the
EPA recommended threshold. There may be an increased risk of illness
associated with swimming at this site. Because elevated bacteria levels have
persisted, a public health advisory will be issued. This site will be retested.